## Summary
[9 empty] | Monte carlo model output |  |  |  |  | Monte carlo model output
Summary - present valued benefits ($ millions)
[5 empty] | Monte carlo |  |  |  | Efficient load and generation investment |  |  |  |  | Durability/increased certainty
| Example in this file | Recommended: | Lower sensitivity | Upper sensitivity | 5th percentile | 50th percentile | Mean | 95th percentile | Value | 5th percentile | 50th percentile | Mean | 95th percentile | 5th percentile | 50th percentile | Mean | 95th percentile
More efficient investment in generation and load | 24.319 | 42.4178 | 8.9292 | 110.6923 | 8.9292 | 28.9318 | 42.4178 | 110.6923 | Net benefit | 8929192 | 28931758 | 42417775 | 110692278 | 9834187.9977 | 24461143.8211 | 26221931.3495 | 48293041.0669
Durability (reduced uncertainty for investors) | 31.7662 | 26.2219 | 9.8342 | 48.293 | 9.8342 | 24.4611 | 26.2219 | 48.293 | Gross benefit | 9005357 | 29181307 | 42930786 | 112438214
Scrutiny of major capex | 45.5717 | 45.5717 | 22.7859 | 68.3576 | -- | -- | -- | -- | Generation benefit | 732197 | 9050955 | 11093954 | 28203576
Scrutiny of base capex | 31.3545 | 31.3545 | 6.2788 | 56.4301 | -- | -- | -- | -- | Demand gross benefit | 2316863 | 15555839 | 31836832 | 103750274
Total | 133.0113 | 145.5659 | 47.8281 | 283.773 | -- | -- | -- | -- | Demand cost | 12599 | 177146 | 513011 | 1876497
[9 empty] | Demand net benefit | 2277536 | 15310792 | 31323820 | 101708217
Scrutiny of inefficient investment - undergrounding example | 206.4139 | 206.4139
The undergrounding scenario is used as a sense check for the headline results on major capex, because it is indicative of the scale of benefits that could arise from more efficient major capex projects.
Note on D9: Phillip Beardmore: $32m = load-related $11m = generation-related (Refer to mean results in monte carlo charts below.)

## Efficient investment
Parameter table, row | Description | Parameters | Value |  | Expected long run price change |  |  | Benefits of investment deferral, demand effect |  | Costs of demand reductions | Benefits of generation investment displacement |  |  | Distributions of parameter values, for monte carlo analysis
13 | Typical MW in area of benefit |  | 2464
21 | Expected price of energy |  | 109
6 | Average revenue per MWh |  | 18.7561
6 | Average E&D $/MWh |  | 1.0763
6 | Transmission costs, share of prices |  | 0.8425%
2 | Share of investment for reliability |  | 0.5
| Discount rate |  | 0.9434
6 | Long run elasticity |  | -0.74
14 | Displaced demand |  | 0.5
15 | Investment effect lag |  | 0.033504
2 | Share of investment, economic |  | 0.5
17 | Change in generation investment |  | -0.4661%
7 | Peak demand growth, post 2033 |  | 0.0084
| Assumed major capex ex 2035 |  | 77128815.4384
| Assumed annual E&D post 2035 |  | 20878815.4384
| Assumed annual R&R post 2035 |  | 56250000
| Average expenditure per MW after 2035 |  | 280617.1743
[5 empty] | + Demand benefit | - Demand cost | + Generation benefit | Net benefit | % of PV expenditure
|  |  |  | Summary: | 20379078.3754 | -341387.1277 | 4281268.0852 | 24318959.3329 | 3.553%
|  |  |  | Demand-side investment efficiencies | [6 empty] | Supply-side investment efficiencies |  | Memo:
|  |  |  | Baseline: |  |  | Proposal effect, benefits |  | Proposal effect, costs: | Net effects of proposal: | Baseline: | Proposal effects
|  |  | Year | Demand | Expenditure | Expenditure per additional MW | Price change | Benefit, yearly profile | Cost, yearly profile | Net benefit, yearly profile | Generation in export constrained areas | Benefit, yearly profile | PV expenditure
|  |  | 2021 | 7376.0938 | 27685075.8917
|  |  | 2022 | 7466.7188 | 80734170.1287 | 890859.8083 | 1.68% | 1239533.132 | -20764.4648 | 1218768.6672 | 4784.75 | 297865.3247 | 67785966.0396
|  |  | 2023 | 7559.6875 | 43719049.9671 | 470255.3274 | 1.711% | 636642.4883 | -10664.9352 | 625977.5531 | 5026.75 | 155835.5282 | 34629582.4417
|  |  | 2024 | 7639.375 | 67809248.6288 | 850939.5906 | 1.738% | 1115546.675 | -18687.4631 | 1096859.2119 | 5026.75 | 266026.9393 | 50671015.2338
|  |  | 2025 | 7719.8438 | 55754905.3679 | 692876.4939 | 1.765% | 879486.9582 | -14733.0277 | 864753.9305 | 5061.75 | 205773.8842 | 39305008.2203
|  |  | 2026 | 7805.7812 | 15367491.9352 | 178821.7243 | 1.794% | 220079.6993 | -3686.7406 | 216392.9586 | 5061.75 | 50101.2822 | 10220259.83
|  |  | 2027 | 7885.4688 | 15369216.3129 | 192868.5969 | 1.821% | 229611.5557 | -3846.4168 | 225765.1389 | 5061.75 | 50978.1673 | 9642836.4526
|  |  | 2028 | 7961.25 | 17166938.5619 | 226532.7975 | 1.847% | 260479.3721 | -4363.5096 | 256115.8624 | 5061.75 | 56486.9232 | 10161084.5583
|  |  | 2029 | 8018.9509 | 45312958.0187 | 785307.8418 | 1.866% | 867106.2645 | -14525.6283 | 852580.6363 | 5061.75 | 184735.7298 | 25302519.0842
|  |  | 2030 | 8077.1023 | 164259282.9855 | 2824681.242 | 1.886% | 2994893.5568 | -50169.9876 | 2944723.5692 | 5061.75 | 626865.7573 | 86529741.2065
|  |  | 2031 | 8135.708 | 81091654.1173 | 1383682.7492 | 1.906% | 1408697.0726 | -23598.2726 | 1385098.8 | 5061.75 | 289691.5065 | 40300067.7381
|  |  | 2032 | 8194.7716 | 171015884.0689 | 2895452.901 | 1.925% | 2830456.4798 | -47415.3634 | 2783041.1164 | 5308.75 | 599793.0897 | 80178919.8748
|  |  | 2033 | 8254.2969 | 140691756.3473 | 2363563.3149 | 1.946% | 2218482.5847 | -37163.6726 | 2181318.9121 | 5308.75 | 461898.2623 | 62228099.5127
|  |  | 2034 | 8323.633 | 89203878.5747 | 1286543.1805 | 1.969% | 1162617.1182 | -19475.9798 | 1143141.1384 | 5308.75 | 237190.6633 | 37221661.8113
|  |  | 2035 | 8393.5515 | 137003955.4875 | 1959480.2849 | 1.993% | 1704740.349 | -28557.5432 | 1676182.8058 | 5308.75 | 340806.8031 | 53931097.9316
|  |  | 2036 | 8464.0573 | 20878815.4384 | 296128.9117 | 2.016% | 248018.9517 | -4154.7746 | 243864.177 | 5308.75 | 48589.4857 | 7753649.1563
|  |  | 2037 | 8535.1554 | 20878815.4384 | 293662.1496 | 2.04% | 236766.7665 | -3966.2798 | 232800.4867 | 5308.75 | 45457.2962 | 7314763.355
|  |  | 2038 | 8606.8507 | 20878815.4384 | 291215.9357 | 2.065% | 226015.8467 | -3786.182 | 222229.6646 | 5308.75 | 42527.0148 | 6900720.1462
|  |  | 2039 | 8679.1483 | 20878815.4384 | 288790.0989 | 2.089% | 215744.4222 | -3614.1168 | 212130.3054 | 5308.75 | 39785.626 | 6510113.3455
|  |  | 2040 | 8752.0531 | 20878815.4384 | 286384.4694 | 2.114% | 205931.6337 | -3449.7345 | 202481.8992 | 5308.75 | 37220.9534 | 6141616.3636
|  |  | 2041 | 8825.5703 | 20878815.4384 | 283998.8788 | 2.139% | 196557.4967 | -3292.7004 | 193264.7963 | 5308.75 | 34821.6055 | 5793977.7016
|  |  | 2042 | 8899.7051 | 20878815.4384 | 281633.1602 | 2.164% | 187602.8672 | -3142.6938 | 184460.1733 | 5308.75 | 32576.9251 | 5466016.6996
|  |  | 2043 | 8974.4627 | 20878815.4384 | 279287.1482 | 2.189% | 179049.4079 | -2999.4076 | 176050.0002 | 5308.75 | 30476.9419 | 5156619.5279
|  |  | 2044 | 9049.8481 | 20878815.4384 | 276960.6785 | 2.214% | 170879.5562 | -2862.5475 | 168017.0086 | 5308.75 | 28512.3284 | 4864735.4037
|  |  | 2045 | 9125.8669 | 20878815.4384 | 274653.5884 | 2.24% | 163076.4932 | -2731.8319 | 160344.6614 | 5308.75 | 26674.3584 | 4589373.0223
|  |  | 2046 | 9202.5241 | 20878815.4384 | 272365.7163 | 2.266% | 155624.1138 | -2606.9908 | 153017.1231 | 5308.75 | 24954.8682 | 4329597.1909
|  |  | 2047 | 9279.8254 | 20878815.4384 | 270096.9024 | 2.292% | 148506.9977 | -2487.766 | 146019.2318 | 5308.75 | 23346.2202 | 4084525.6518
|  |  | 2048 | 9357.7759 | 20878815.4384 | 267846.9877 | 2.318% | 141710.3819 | -2373.9101 | 139336.4718 | 5308.75 | 21841.2694 | 3853326.0866
|  |  | 2049 | 9436.3812 | 20878815.4384 | 265615.8148 | 2.345% | 135220.1338 | -2265.1865 | 132954.9474 | 5308.75 | 20433.3311 | 3635213.2892
𝑄_𝐴
𝑄_𝑡
𝑐_𝑡
𝑠_𝑟
𝛿
𝜂
Δ𝑃/𝑃
((𝜂 Δ𝑃/𝑃 𝑄_𝑡.𝑐_𝑡.𝑠_𝑟.𝛿^𝑡 ))/𝑇
𝐷
𝐿
(𝜂 Δ𝑃/𝑃 𝑄_𝑡.𝐷.𝐿.𝑐_𝑡.𝑠_𝑟.𝛿^𝑡)/𝑇
MW_(𝑋,𝑡),
𝑠_𝑒
(Δ𝑀𝑊_(𝑋,𝑇))/(𝑀𝑊_(𝑋,𝑇) )
(−(Δ𝑀𝑊_(𝑋,𝑇))/(𝑀𝑊_(𝑋,𝑇) ) 𝑀𝑊_(𝑋,𝑡).𝑐_𝑡.𝑠_𝑒.𝛿^𝑡)/𝑇
𝑠_𝑇
Note on D18: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E28: John Stephenson: 2022-2033 is based on Transpower's TPR 2018 forecast peak demand, plus an assumed diversity factor

## Durability
Distributions of parameter values, for monte carlo analysis
Document references
Equation | Parameter table, row | Parameters | Central
| 22 | LR demand elasticity | -0.74
| 23 | LR supply elasticity | 1
| 24 | Effect of uncertainty on investment | -0.087
| 28 | Investment, share of capital stock | 0.1033
| 28 | Output to capital stock ratio | 0.53
| 28 | Effect of investment on demand and supply | 0.054749
21 |  | Supply price response | 497302.2262
21 |  | Demand, price response | -368003.6474
20 |  | Uncertainty effect, supply | -2368.7316
20 |  | Uncertainty effect, demand | -2368.7316
| 21 | Baseline price ($/MWh) | 94.541
| 27 | Baseline quantity (MWh) | 47015447.9719
19 |  | Quantity intercept (Q, P=0) | 81806879.4711
18 |  | Price intercept (P, Q= 0) | 222.2991
|  | Discount rate | 0.06
15 |  | Effect of uncertainty on price: | -0.0054749
Expected change in uncertainty:
|  | Benchmark level of uncertainty (index) | 100
| 26 | Heightened uncertainty, frequency, baseline | 10
| 26 | Heightened uncertainty, frequency, proposal | 11
| 25 | Incremental effect of uncertainty, baseline | 0.5
| 25 | Incremental effect of uncertainty, proposal | 0.5
| 25 | Duration of effect (% of year), baseline | 0.41667
| 25 | Duration of effect (% of year), proposal | 0.41667
|  | Total effect of uncertainty, baseline | 0.020833
|  | Total effect of uncertainty, proposal | 0.018939
|  | Change in uncertainty | -9.091%
|  | Expected change in price | 0.04977%
|  | Expected change in quantity | 21533.9233
|  | Welfare change, annual | 2662395.2305
17
|  | Welfare change, present value | 31766204.9153
|  | % of PV expenditure | 0.03541%
𝛽_𝑠
𝛽_𝑑
𝛿_𝑠
𝛿_𝑑
Note on C7: John Stephenson: Averaage ratio of current price gross fixed capital formation to net capital stock (ex property), 1987-2017
Note on C8: John Stephenson: Current price 1987-2017, average
Note on C9: John Stephenson: Average gross fixed capital formation as a share of output multiplied by capital
Note on C14: John Stephenson: Geometric mean of the EDGS expected long run energy prices (indicator) in 2019 and 2049
Note on C15: John Stephenson: Geometric mean of EDGS forecasts 2019-2049

## Scrutiny - Major capex
Major capex
Central scenario
Productivity gain, scrutinised projects | 4%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 45571721.4596
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 2644951.2576 | 440201.36 | 3085152.6175 | 2220752.0785 | 369601.5502 | 2590353.6288
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 1147308.9206 | 1193385.3451 | 2340694.2657 | 908776.1258 | 945272.9696 | 1854049.0954
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 1406813.8737 | 3026399.0663 | 4433212.94 | 1051253.1648 | 2261501.4366 | 3312754.6014
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 984917.9463 | 503807.9616 | 1488725.9078 | 694328.2877 | 355164.7329 | 1049493.0206
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 3499.6671 | 2100000 | 2103499.6671 | 2327.4785 | 1396619.9386 | 1398947.4171
| 2027 | 89216.802 | 52500000 | 52589216.802 | 3568.6721 | 2100000 | 2103568.6721 | 2239.029 | 1317565.9798 | 1319805.0088
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 75477.5346 | 2100000 | 2175477.5346 | 44675.0368 | 1242986.7734 | 1287661.8102
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 1201318.3341 | 2100000 | 3301318.3341 | 670809.8832 | 1172629.0315 | 1843438.9147
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 5959171.3002 | 2100000 | 8059171.3002 | 3139217.1026 | 1106253.8033 | 4245470.9059
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 2761817.684 | 2400000 | 5161817.684 | 1372538.7767 | 1192726.4726 | 2565265.2493
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 6870208.1855 | 2400000 | 9270208.1855 | 3221021.6883 | 1125213.6534 | 4346235.3417
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 5426858.7975 | 2400000 | 7826858.7975 | 2400304.8797 | 1061522.3145 | 3461827.1942
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 2847201.8369 | 2400000 | 5247201.8369 | 1188037.8474 | 1001436.1458 | 2189473.9932
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 4760158.2111 | 2400000 | 7160158.2111 | 1873818.5897 | 944751.0809 | 2818569.6706
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 310145.9663 | 835569.9418 | 1145715.9081
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 292590.5342 | 788273.53 | 1080864.0642
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 276028.8058 | 743654.2736 | 1019683.0795
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 260404.5338 | 701560.6355 | 961965.1693
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 245664.6545 | 661849.6561 | 907514.3107
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 231759.1081 | 624386.468 | 856145.5761
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 218640.668 | 589043.8378 | 807684.5058
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 206264.7811 | 555701.7338 | 761966.5149
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 194589.4161 | 524246.9186 | 718836.3348
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 183574.9209 | 494572.5647 | 678147.4856
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 173183.8876 | 466577.8913 | 639761.7789
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 163381.0261 | 440167.822 | 603548.848
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 154133.0435 | 415252.6622 | 569385.7057
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 835152.6175 | 2250000 | 3085152.6175 | 145408.5316 | 391747.7945 | 537156.3261
Major capex
Upper sensitivity
Productivity gain, scrutinised projects | 6%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 68357582.1894
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 3967426.8864 | 660302.0399 | 4627728.9263 | 3331128.1178 | 554402.3254 | 3885530.4432
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 1720963.3809 | 1790078.0176 | 3511041.3985 | 1363164.1887 | 1417909.4544 | 2781073.6431
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 2110220.8105 | 4539598.5995 | 6649819.41 | 1576879.7472 | 3392252.155 | 4969131.9022
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 1477376.9194 | 755711.9424 | 2233088.8618 | 1041492.4315 | 532747.0993 | 1574239.5308
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 5249.5007 | 3150000 | 3155249.5007 | 3491.2178 | 2094929.9079 | 2098421.1257
| 2027 | 89216.802 | 52500000 | 52589216.802 | 5353.0081 | 3150000 | 3155353.0081 | 3358.5435 | 1976348.9697 | 1979707.5132
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 113216.302 | 3150000 | 3263216.302 | 67012.5552 | 1864480.1601 | 1931492.7153
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 1801977.5011 | 3150000 | 4951977.5011 | 1006214.8247 | 1758943.5473 | 2765158.372
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 8938756.9503 | 3150000 | 12088756.9503 | 4708825.6539 | 1659380.705 | 6368206.3589
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 4142726.526 | 3600000 | 7742726.526 | 2058808.1651 | 1789089.7089 | 3847897.874
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 10305312.2782 | 3600000 | 13905312.2782 | 4831532.5324 | 1687820.4801 | 6519353.0125
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 8140288.1963 | 3600000 | 11740288.1963 | 3600457.3195 | 1592283.4718 | 5192740.7913
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 4270802.7554 | 3600000 | 7870802.7554 | 1782056.7711 | 1502154.2186 | 3284210.9898
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 7140237.3166 | 3600000 | 10740237.3166 | 2810727.8845 | 1417126.6214 | 4227854.5059
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 465218.9494 | 1253354.9128 | 1718573.8621
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 438885.8013 | 1182410.2951 | 1621296.0964
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 414043.2088 | 1115481.4104 | 1529524.6192
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 390606.8007 | 1052340.9532 | 1442947.754
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 368496.9818 | 992774.4842 | 1361271.466
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 347638.6621 | 936579.7021 | 1284218.3642
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 327961.002 | 883565.7567 | 1211526.7586
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 309397.1717 | 833552.6006 | 1142949.7723
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 291884.1242 | 786370.378 | 1078254.5022
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 275362.3813 | 741858.8471 | 1017221.2285
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 259775.8315 | 699866.8369 | 959642.6684
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 245071.5391 | 660251.7329 | 905323.272
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 231199.5652 | 622878.9933 | 854078.5585
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 1252728.9263 | 3375000 | 4627728.9263 | 218112.7974 | 587621.6918 | 805734.4892
Major capex
Lower sensitivity
Productivity gain, scrutinised projects | 2%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 22785860.7298
Major capex
|  | Major capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex | Major E&D capex | Major R&R capex | Total major capex
| 2021 | 23591361.6179 | 6239899.3869 | 29831261.0048 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 66123781.4394 | 11005033.9989 | 77128815.4384 | 1322475.6288 | 220100.68 | 1542576.3088 | 1110376.0393 | 184800.7751 | 1295176.8144
| 2023 | 28682723.0156 | 29834633.6264 | 58517356.642 | 573654.4603 | 596692.6725 | 1170347.1328 | 454388.0629 | 472636.4848 | 927024.5477
| 2024 | 35170346.8417 | 75659976.6576 | 110830323.4993 | 703406.9368 | 1513199.5332 | 2216606.47 | 525626.5824 | 1130750.7183 | 1656377.3007
| 2025 | 24622948.6568 | 12595199.0393 | 37218147.6961 | 492458.9731 | 251903.9808 | 744362.9539 | 347164.1438 | 177582.3664 | 524746.5103
| 2026 | 87491.6787 | 52500000 | 52587491.6787 | 1749.8336 | 1050000 | 1051749.8336 | 1163.7393 | 698309.9693 | 699473.7086
| 2027 | 89216.802 | 52500000 | 52589216.802 | 1784.336 | 1050000 | 1051784.336 | 1119.5145 | 658782.9899 | 659902.5044
| 2028 | 1886938.3659 | 52500000 | 54386938.3659 | 37738.7673 | 1050000 | 1087738.7673 | 22337.5184 | 621493.3867 | 643830.9051
| 2029 | 30032958.3522 | 52500000 | 82532958.3522 | 600659.167 | 1050000 | 1650659.167 | 335404.9416 | 586314.5158 | 921719.4573
| 2030 | 148979282.5052 | 52500000 | 201479282.5052 | 2979585.6501 | 1050000 | 4029585.6501 | 1569608.5513 | 553126.9017 | 2122735.453
| 2031 | 69045442.0998 | 60000000 | 129045442.0998 | 1380908.842 | 1200000 | 2580908.842 | 686269.3884 | 596363.2363 | 1282632.6247
| 2032 | 171755204.6369 | 60000000 | 231755204.6369 | 3435104.0927 | 1200000 | 4635104.0927 | 1610510.8441 | 562606.8267 | 2173117.6708
| 2033 | 135671469.9376 | 60000000 | 195671469.9376 | 2713429.3988 | 1200000 | 3913429.3988 | 1200152.4398 | 530761.1573 | 1730913.5971
| 2034 | 71180045.9231 | 60000000 | 131180045.9231 | 1423600.9185 | 1200000 | 2623600.9185 | 594018.9237 | 500718.0729 | 1094736.9966
| 2035 | 119003955.2764 | 60000000 | 179003955.2764 | 2380079.1055 | 1200000 | 3580079.1055 | 936909.2948 | 472375.5405 | 1409284.8353
| 2036 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 155072.9831 | 417784.9709 | 572857.954
| 2037 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 146295.2671 | 394136.765 | 540432.0321
| 2038 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 138014.4029 | 371827.1368 | 509841.5397
| 2039 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 130202.2669 | 350780.3177 | 480982.5847
| 2040 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 122832.3273 | 330924.8281 | 453757.1553
| 2041 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 115879.554 | 312193.234 | 428072.7881
| 2042 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 109320.334 | 294521.9189 | 403842.2529
| 2043 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 103132.3906 | 277850.8669 | 380983.2574
| 2044 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 97294.7081 | 262123.4593 | 359418.1674
| 2045 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 91787.4604 | 247286.2824 | 339073.7428
| 2046 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 86591.9438 | 233288.9456 | 319880.8895
| 2047 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 81690.513 | 220083.911 | 301774.424
| 2048 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 77066.5217 | 207626.3311 | 284692.8528
| 2049 | 20878815.4384 | 56250000 | 77128815.4384 | 417576.3088 | 1125000 | 1542576.3088 | 72704.2658 | 195873.8973 | 268578.1631
Note on E28: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E77: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.
Note on E127: Phillip Beardmore: Taking average of Transpower's estimate for RCP 4 and RCP 5, from its RCP 3 proposal.

## Scrutiny - Base capex
Base capex
Central scenario
Productivity gain, unscrutinised projects | 4%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 2%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 2%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 1%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 31354459.3161
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (2%) | Base capex R&R (1%) | Base capex E&D | Base capex R&R (2%) | Base capex R&R (1%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 379870.1059 | 655611.2538 | 1529759.5922 | 318946.266 | 550463.8509 | 1284415.652
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 390944.5007 | 545759.5869 | 1273439.036 | 309664.6617 | 432292.7104 | 1008682.9909
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 848611.4465 | 511200.2857 | 1192800.6667 | 634131.839 | 381998.5915 | 891330.0468
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 809430.8745 | 494126.7241 | 1152962.3562 | 570616.8267 | 348339.8425 | 812792.9657
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 397280.0067 | 575953.9266 | 1343892.4953 | 264213.8945 | 383042.256 | 893765.264
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 397279.9873 | 580287.4987 | 1354004.1635 | 249258.3789 | 364079.5556 | 849518.963
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 397280.0051 | 604250.733 | 1409918.377 | 235149.4246 | 357655.0804 | 834528.521
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 397279.9913 | 650074.128 | 1516839.632 | 221839.0721 | 362997.9977 | 846995.3279
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 397280.0125 | 630782.9206 | 1471826.8146 | 209282.1547 | 332288.5738 | 775340.0055
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 462126.3506 | 925933.746 | 2160512.074 | 229662.6383 | 460160.7045 | 1073708.3104
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 464704.5409 | 923791.932 | 2155514.508 | 217871.6226 | 433109.7061 | 1010589.3143
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 468266.6622 | 882767.544 | 2059790.936 | 207114.7963 | 390448.936 | 911047.5174
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 468619.6489 | 900517.437 | 2101207.3531 | 195538.6063 | 375754.4631 | 876760.4138
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 468000.0055 | 881486.226 | 2056801.194 | 184226.4629 | 346993.777 | 809652.1464
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 46120.1288 | 257405.4867 | 600612.8024
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 43509.5555 | 242835.3649 | 566615.8513
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 41046.7505 | 229089.9668 | 534543.256
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 38723.3495 | 216122.6102 | 504286.0905
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 36531.4618 | 203889.2549 | 475741.5948
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 34463.6432 | 192348.3537 | 448812.8253
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 32512.871 | 181460.711 | 423408.3258
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 30672.5198 | 171189.35 | 399441.8168
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 28936.3394 | 161499.3868 | 376831.9026
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 27298.4334 | 152357.9121 | 355501.7949
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 25753.2391 | 143733.8793 | 335379.0518
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 24295.5085 | 135597.9994 | 316395.3319
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 22920.2911 | 127922.6409 | 298486.1622
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 124191.0278 | 693134.4896 | 1617313.8091 | 21622.9161 | 120681.7367 | 281590.719
Base capex
Upper sensitivity
Productivity gain, unscrutinised projects | 6%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 3%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 3%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 2%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 56430076.4564
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (3%) | Base capex R&R (2%) | Base capex E&D | Base capex R&R (3%) | Base capex R&R (2%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 569805.1589 | 983416.8807 | 3059519.1844 | 478419.399 | 825695.7763 | 2568831.304
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 586416.7511 | 818639.3803 | 2546878.072 | 464496.9926 | 648439.0656 | 2017365.9819
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 1272917.1697 | 766800.4286 | 2385601.3334 | 951197.7584 | 572997.8872 | 1782660.0936
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 1214146.3117 | 741190.0861 | 2305924.7124 | 855925.2401 | 522509.7637 | 1625585.9315
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 595920.01 | 863930.8898 | 2687784.9906 | 396320.8418 | 574563.384 | 1787530.5279
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 595919.9809 | 870431.248 | 2708008.3271 | 373887.5684 | 546119.3334 | 1699037.9261
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 595920.0076 | 906376.0995 | 2819836.7539 | 352724.1369 | 536482.6207 | 1669057.042
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 595919.987 | 975111.192 | 3033679.2639 | 332758.6082 | 544496.9965 | 1693990.6558
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 595920.0187 | 946174.3808 | 2943653.6293 | 313923.232 | 498432.8607 | 1550680.011
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 693189.5258 | 1388900.619 | 4321024.148 | 344493.9575 | 690241.0567 | 2147416.6208
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 697056.8114 | 1385687.898 | 4311029.0159 | 326807.4339 | 649664.5592 | 2021178.6287
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 702399.9933 | 1324151.316 | 4119581.872 | 310672.1944 | 585673.404 | 1822095.0348
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 702929.4734 | 1350776.1556 | 4202414.7062 | 293307.9094 | 563631.6946 | 1753520.8276
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 702000.0082 | 1322229.339 | 4113602.388 | 276339.6944 | 520490.6655 | 1619304.2927
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 69180.1933 | 386108.2301 | 1201225.6048
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 65264.3333 | 364253.0473 | 1133231.7026
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 61570.1257 | 343634.9503 | 1069086.5119
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 58085.0243 | 324183.9153 | 1008572.1811
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 54797.1927 | 305833.8824 | 951483.1897
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 51695.4648 | 288522.5306 | 897625.6506
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 48769.3064 | 272191.0666 | 846816.6516
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 46008.7797 | 256784.0251 | 798883.6335
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 43404.5091 | 242249.0803 | 753663.8052
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 40947.6501 | 228536.8682 | 711003.5898
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 38629.8586 | 215600.819 | 670758.1036
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 36443.2628 | 203396.9991 | 632790.6638
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 34380.4366 | 191883.9614 | 596972.3243
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 186286.5418 | 1039701.7344 | 3234627.6182 | 32434.3742 | 181022.6051 | 563181.438
Base capex
Lower sensitivity
Productivity gain, unscrutinised projects | 2%
Scrutiny of E&D base capex proposals | 70%
Productivity gain, scrutinised E&D projects | 1%
Productivity gain, scrutinised R&R projects (that could be covered by deeper connection charge) | 1%
Productivity gain, scrutinised R&R projects (excluding those recovered by connection charges or that could be covered by deeper connection charge) | 0%
Share of R&R base capex subject to 2% improvement | 15%
Share of R&R base capex subject to 1% improvement | 70%
Starting in year? | 2022
Discount rate | 0.06
Benefit ($ present valued) | 6278842.1757
Base capex
|  | Baseline capital expenditure |  |  | Productivity gains |  |  | Discounted productivity gains
|  | Investment (ex R&R) | Base capex E&D | Base capex R&R | Base capex E&D | Base capex R&R (1%) | Base capex R&R (0%) | Base capex E&D | Base capex R&R (1%) | Base capex R&R (0%)
| 2021 | 27685075.8917 | 4093714.2738 | 211491133.9776 | 0 | 0 | 0 | 0 | 0 | 0
| 2022 | 80734170.1287 | 14610388.6892 | 218537084.5979 | 189935.053 | 327805.6269 | 0 | 159473.133 | 275231.9254 | 0
| 2023 | 43719049.9671 | 15036326.9514 | 181919862.2858 | 195472.2504 | 272879.7934 | 0 | 154832.3309 | 216146.3552 | 0
| 2024 | 67809248.6288 | 32638901.7871 | 170400095.2412 | 424305.7232 | 255600.1429 | 0 | 317065.9195 | 190999.2957 | 0
| 2025 | 55754905.3679 | 31131956.7111 | 164708908.0282 | 404715.4372 | 247063.362 | 0 | 285308.4134 | 174169.9212 | 0
| 2026 | 15367491.9352 | 15280000.2565 | 191984642.1882 | 198640.0033 | 287976.9633 | 0 | 132106.9473 | 191521.128 | 0
| 2027 | 15369216.3129 | 15279999.5109 | 193429166.2187 | 198639.9936 | 290143.7493 | 0 | 124629.1895 | 182039.7778 | 0
| 2028 | 17166938.5619 | 15280000.196 | 201416910.9934 | 198640.0025 | 302125.3665 | 0 | 117574.7123 | 178827.5402 | 0
| 2029 | 45312958.0187 | 15279999.6665 | 216691375.9961 | 198639.9957 | 325037.064 | 0 | 110919.5361 | 181498.9988 | 0
| 2030 | 164259282.9855 | 15280000.4803 | 210260973.5194 | 198640.0062 | 315391.4603 | 0 | 104641.0773 | 166144.2869 | 0
| 2031 | 81091654.1173 | 17774090.4059 | 308644582.0019 | 231063.1753 | 462966.873 | 0 | 114831.3192 | 230080.3522 | 0
| 2032 | 171015884.0689 | 17873251.5749 | 307930643.9948 | 232352.2705 | 461895.966 | 0 | 108935.8113 | 216554.8531 | 0
| 2033 | 140691756.3473 | 18010256.2372 | 294255847.9972 | 234133.3311 | 441383.772 | 0 | 103557.3981 | 195224.468 | 0
| 2034 | 89203878.5747 | 18023832.6516 | 300172479.0138 | 234309.8245 | 450258.7185 | 0 | 97769.3031 | 187877.2315 | 0
| 2035 | 137003955.4875 | 18000000.2111 | 293828742.0014 | 234000.0027 | 440743.113 | 0 | 92113.2315 | 173496.8885 | 0
| 2036 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 23060.0644 | 128702.7434 | 0
| 2037 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 21754.7778 | 121417.6824 | 0
| 2038 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 20523.3752 | 114544.9834 | 0
| 2039 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 19361.6748 | 108061.3051 | 0
| 2040 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 18265.7309 | 101944.6275 | 0
| 2041 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 17231.8216 | 96174.1769 | 0
| 2042 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 16256.4355 | 90730.3555 | 0
| 2043 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 15336.2599 | 85594.675 | 0
| 2044 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 14468.1697 | 80749.6934 | 0
| 2045 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 13649.2167 | 76178.9561 | 0
| 2046 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 12876.6195 | 71866.9397 | 0
| 2047 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 12147.7543 | 67798.9997 | 0
| 2048 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 11460.1455 | 63961.3205 | 0
| 2049 | 20878815.4384 | 4776577.9938 | 231044829.8704 | 62095.5139 | 346567.2448 | 0 | 10811.4581 | 60340.8684 | 0

## Scrutiny - Inefficient investmt
Undergrounding
Central scenario
NOTE:
Undergrounding cost | 1500000000 | Timing, cost and gross rate of return of undergrounding are aligned with the "Major Capex" tab of the file named "Scenarios".
Revenue implication | 255000000
Commissioned constantly over 10 years | 25500000
Average WACC (real) | 6%
Average OPEX | 6%
Depreciation | 5%
Gross rate of return | 17%
Discount rate | 6%
Change in probability of undergrounding proceeding in absence of AoB charge | 25%
Benefit ($ present valued) | 206413901.4776
Undergrounding
|  | Major capex | AC interconnection charges | Discounted value of charges | Probability weighted discounted value of charges
| 2021 | 0 | 0 | 0 | 0
| 2022 | 0 | 0 | 0 | 0
| 2023 | 0 | 0 | 0 | 0
| 2024 | 0 | 0 | 0 | 0
| 2025 | 0 | 0 | 0 | 0
| 2026 | 0 | 0 | 0 | 0
| 2027 | 0 | 0 | 0 | 0
| 2028 | 0 | 0 | 0 | 0
| 2029 | 0 | 0 | 0 | 0
| 2030 | 25500000 | 25500000 | 13433081.8975 | 3358270.4744
| 2031 | 25500000 | 49725000 | 24711801.6039 | 6177950.401
| 2032 | 25500000 | 72738750 | 34102764.4291 | 8525691.1073
| 2033 | 25500000 | 94601812.5 | 41842472.9008 | 10460618.2252
| 2034 | 25500000 | 115371721.875 | 48140588.5353 | 12035147.1338
| 2035 | 25500000 | 135103135.7812 | 53182847.3182 | 13295711.8296
| 2036 | 25500000 | 153847978.9922 | 57133665.2708 | 14283416.3177
| 2037 | 25500000 | 171655580.0426 | 60138466.6806 | 15034616.6701
| 2038 | 25500000 | 188572801.0404 | 62325764.1702 | 15581441.0425
| 2039 | 25500000 | 204644160.9884 | 63809016.7258 | 15952254.1815
| 2040 | 0 | 194411952.939 | 57187326.3109 | 14296831.5777
| 2041 | 0 | 184691355.2921 | 51252792.4484 | 12813198.1121
| 2042 | 0 | 175456787.5275 | 45934106.4396 | 11483526.6099
| 2043 | 0 | 166683948.1511 | 41167359.545 | 10291839.8862
| 2044 | 0 | 158349750.7435 | 36895275.0639 | 9223818.766
| 2045 | 0 | 150432263.2063 | 33066520.1044 | 8266630.0261
| 2046 | 0 | 142910650.046 | 29635088.7728 | 7408772.1932
| 2047 | 0 | 135765117.5437 | 26559749.3719 | 6639937.343
| 2048 | 0 | 128976861.6665 | 23803548.9654 | 5950887.2413
| 2049 | 0 | 122528018.5832 | 21333369.3557 | 5333342.3389
| 2050 | 0 | 116401617.6541
| 2051 | 0 | 110581536.7714
| 2052 | 0 | 105052459.9328
| 2053 | 0 | 99799836.9361
| 2054 | 0 | 94809845.0893
| 2055 | 0 | 90069352.8349
| 2056 | 0 | 85565885.1931
| 2057 | 0 | 81287590.9335
| 2058 | 0 | 77223211.3868
| 2059 | 0 | 73362050.8175
| 2060 | 0 | 69693948.2766

## Forecast peak demand
Interpolated
BB_NUM | BB | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
1 | MDN | 254 | 257 | 275 | 281 | 287 | 292 | 294 | 298 | 300 | 304 | 307 | 309.1691 | 311.3536 | 313.5535 | 315.7689 | 318
2 | OTA | 2449 | 2498 | 2539 | 2576 | 2613 | 2654 | 2695 | 2733 | 2772 | 2806 | 2842 | 2866.9578 | 2892.1347 | 2917.5328 | 2943.1539 | 2969
3 | HLY | 817 | 832 | 842 | 857 | 862 | 868 | 871 | 876 | 880 | 886 | 891 | 894.768 | 898.5519 | 902.3519 | 906.1679 | 910
4 | TRK | 577 | 586 | 593 | 600 | 607 | 612 | 616 | 622 | 632 | 638 | 644 | 648.5357 | 653.1033 | 657.703 | 662.3352 | 667
5 | WKM | 72 | 73 | 73 | 73 | 75 | 75 | 75 | 75 | 76 | 77 | 77 | 77.5909 | 78.1863 | 78.7862 | 79.3908 | 80
6 | RDF | 366 | 368 | 371 | 375 | 382 | 396 | 399 | 403 | 407 | 409 | 413 | 415.3726 | 417.7588 | 420.1587 | 422.5724 | 425
7 | SFD | 337 | 339 | 338 | 342 | 343 | 346 | 348 | 350 | 354 | 356 | 357 | 359.1734 | 361.36 | 363.5599 | 365.7732 | 368
8 | BPE | 337 | 339 | 341 | 343 | 346 | 348 | 350 | 353 | 356 | 360 | 361 | 363.3687 | 365.753 | 368.1529 | 370.5685 | 373
9 | HAY | 782 | 794 | 804 | 810 | 816 | 824 | 831 | 836 | 845 | 850 | 857 | 862.7231 | 868.4843 | 874.2841 | 880.1225 | 886
10 | KIK | 276 | 279 | 281 | 285 | 290 | 293 | 297 | 301 | 304 | 309 | 313 | 316.1365 | 319.3044 | 322.5041 | 325.7359 | 329
11 | ISL | 1376.4 | 1402.4 | 1432.4 | 1454.4 | 1478.4 | 1498.4 | 1518.4 | 1538.4 | 1557.4 | 1579.4 | 1595.4 | 1609.1799 | 1623.0788 | 1637.0978 | 1651.2378 | 1665.5
12 | BEN | 257 | 270 | 279 | 285 | 294 | 299 | 307 | 313 | 320 | 327 | 335 | 338.1406 | 341.3106 | 344.5103 | 347.74 | 351
13 | ROX | 275 | 276 | 278 | 281 | 282 | 287 | 290 | 292 | 295 | 296 | 299 | 301.5559 | 304.1337 | 306.7335 | 309.3556 | 312
14 | TWI | 871 | 874 | 877 | 879 | 882 | 884 | 887 | 891 | 893 | 896 | 899 | 901.5851 | 904.1776 | 906.7776 | 909.385 | 912
| Total | 9046.4 | 9187.4 | 9323.4 | 9441.4 | 9557.4 | 9676.4 | 9778.4 | 9881.4 | 9991.4 | 10093.4 | 10190.4 | 10264.2571 | 10338.691 | 10413.7062 | 10489.3076 | 10565.5
| Diversity factor | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28 | 1.28
| Peak | 7067.5 | 7177.6562 | 7283.9062 | 7376.0938 | 7466.7188 | 7559.6875 | 7639.375 | 7719.8438 | 7805.7812 | 7885.4688 | 7961.25 | 8018.9509 | 8077.1023 | 8135.708 | 8194.7716 | 8254.2969
| Population | 4.89 | 4.9291 | 4.9686 | 5.0083 | 5.0484 | 5.0888 | 5.1295 | 5.1705 | 5.2119 | 5.2536 | 5.2956 | 5.338 | 5.3807 | 5.4237 | 5.4671 | 5.5108
| Peak/Population | 1.4453 | 1.4562 | 1.466 | 1.4728 | 1.479 | 1.4856 | 1.4893 | 1.4931 | 1.4977 | 1.501 | 1.5034 | 1.5023 | 1.5011 | 1.5 | 1.4989 | 1.4978
| Growth in Peak/Population |  | 0.7526% | 0.6749% | 0.4619% | 0.4252% | 0.4416% | 0.2521% | 0.2513% | 0.3107% | 0.2191% | 0.1597% | -0.07463% | -0.07423% | -0.07383% | -0.07343% | -0.01461%
| Growth, total |  | 1.559% | 1.48% | 1.266% | 1.229% | 1.245% | 1.054% | 1.053% | 1.113% | 1.021% | 0.961% | 0.7248% | 0.7252% | 0.7256% | 0.726% | 0.1449%

## RCP3 forecast investment
Year 1 revenue per $1m of investment | 72936.5075
RCP3 Base Capital Expenditure |  | SPEND basis $m |  |  |  | Expenditure excluding IDC, constant 2017/18 $ | [6 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Expenditure excluding IDC, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Interest during construction, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Expenditure including IDC, constant 2017/18 $ | [6 empty] | Expenditure including IDC, constant 2017/18 $ | [6 empty] | Expenditure including IDC, constant 2017/18 $ | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Inflation adjustment | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Expenditure including IDC, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $ | [5 empty] | Commissioned, Nominal $
[9 empty] | RCP1 |  |  |  | RCP2 | [5 empty] | RCP3 |  |  | RCP3 |  |  | RCP4 |  |  | RCP4 |  |  | RCP5 |  |  | RCP5 | [5 empty] | RCP1 |  |  | RCP2 |  | RCP2 |  |  |  | RCP3 |  |  | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [6 empty] | RCP4 | [6 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP1 |  |  |  |  | RCP2 | [6 empty] | RCP3 | [5 empty] | RCP4 | [5 empty] | RCP5
Capital expenditure | Expenditure Category | Asset Category |  | Asset Grouping |  | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years |  | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total |  | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total |  | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total 5 years | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | RCP3 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total
| Enhancement & Development | Enhancement and Development |  | Enhancement and Development |  | 38174651.638 | 43156389.9052 | 15790923.3322 | 10544755.3961 | 11920732.0416 | 119587452.313 |  | 3766861.892 | 14146659.5606 | 14615433.3412 | 31672228.1595 | 30131564.6568 | 94332747.6102 | 14529972.9292 | 14583687.6115 | 14234373.8941 | 14666741.8082 | 13845716.5065 | 71860492.7495 | 17643319.7309 | 17828914.6994 | 17409430.15 | 16586806.755 | 17998971.1936 | 87467442.5289 | 17792326.4748 | 17516365.7067 | 18035850.8317 | 17977555.1338 | 17999999.9989 | 89322098.1458 | 2156551.4928 | 1580472.7445 | 1096022.9662 | 704699.7853 | 395049.0092 | 5932795.9978 | 326852.3818 | 463729.1286 | 420893.6102 | 966673.6276 | 1000392.0543 | 3178540.8025 | 750027.3273 | 696311.8994 | 1045626.3019 | 613257.8583 | 1434283.9738 | 4539507.3607 | 130770.675 | 44336.8756 | 600826.0872 | 1437025.8965 | 1029.0175 | 2213988.5518 | 138433.055 | 434981.4325 | -210866.3348 | -214604.4579 | -249525.0678 | -101581.3731 | 40331203.1307 | 44736862.6496 | 16886946.2983 | 11249455.1814 | 12315781.0508 | 125520248.3109 | 40331203.1307 | 44736862.6496 | 16886946.2983 | 11249455.1814 | 12315781.0508 | 125520248.3109 | 4093714.2738 | 14610388.6892 | 15036326.9514 | 32638901.7871 | 31131956.7111 | 97511288.4127 |  | 15280000.2565 | 15279999.5109 | 15280000.196 | 15279999.6665 | 15280000.4803 | 76400000.1102 |  | 17774090.4059 | 17873251.5749 | 18010256.2372 | 18023832.6516 | 18000000.2111 | 89681431.0808 | 17930759.5298 | 17951347.1391 | 17824984.4969 | 17762950.6759 | 17750474.931 | 89220516.7727 | -132905.5859 | -229575.5069 | 0 | 589295.3352 | 1418477.7844 | 1645292.0267 | 1532246.841 | 1887515.6647 | 2511449.6503 | 2781011.2777 | 3381069.3821 | 12093292.8159 | 5631183.7435 | 6106572.4891 | 7561549.804 | 8060402.3335 | 7549921.5197 | 34909629.8898 | 5962672.5941 | 6414532.4251 | 5989390.7628 | 6365763.3484 | 6854214.7889 | 31586573.9192 | 37536250 | 42030283 | 15975053 | 10814104 | 11888423 | 118244113 | 40198297.5448 | 44507287.1427 | 16886946.2983 | 11838750.5165 | 13734258.8352 | 127165540.3375 | 5625961.1148 | 16497904.3539 | 17547776.6017 | 35419913.0648 | 34513026.0933 | 109604581.2285 | 20911184 | 21386572 | 22841550 | 23340402 | 22829922 | 111309630 | 23736763 | 24287784 | 23999647 | 24389596 | 24854215 | 121268005 | 7876075.52 | 3712619.64 | 3311235 | 137852 | 10665289 | 25703071.16 | 1554368 | 13034065 | 12775835.8759 | 19612199.2463 | 36095380.4955 | 83071848.6177 | 24817241.5054 | 7715039.8705 | 23901599.692 | 12677816.085 | 24486768.3152 | 93598465.468 | 30088842 | 20588947 | -1063968 | 48687933 | 22829922 | 121131676 | 8162984 | 39787107 | 23922102 | 25287202 | 25203600 | 122362995
Total major capital projects expenditure under development | [72 empty] | 0 | 0 | 1167262.8327 | 1902644.1179 | 602753.7484 | 3672660.6991 | 23591361.6179 | 66123781.4394 | 28682723.0156 | 35170346.8417 | 24622948.6568 | 178191161.5715 |  | 87491.6787 | 89216.802 | 1886938.3659 | 30032958.3522 | 148979282.5052 | 181075887.704 |  | 63317563.7115 | 153142632.4939 | 122681500.1101 | 71180045.9231 | 119003955.2764 | 529325697.5149
Total approved major capital projects expenditure | [72 empty] | 18172041.6819 | 8883080.5124 | 22920546.0794 | 6261562.746 | 2050453.6712 | 58287684.6909 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 5727878.3883 | 18612572.143 | 12989969.8276 | 0 | 0 | 37330420.3589
Total listed and other reconductoring expenditure | [72 empty] | 19064015.2713 | 21595825.3936 | 18933225.0668 | 24056628.9246 | 21848621.7556 | 105498316.4118 | 6239899.3869 | 11005033.9989 | 29834633.6264 | 75659976.6576 | 12595199.0393 | 135334742.7091 |  | 52500000 | 52500000 | 52500000 | 52500000 | 52500000 | 262500000 |  | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 300000000
Total Major, Listed and Other reconductoring projects | [72 empty] | 37236056.9532 | 30478905.906 | 43021033.9789 | 32220835.7885 | 24501829.1751 | 167458661.8018 | 29831261.0048 | 77128815.4384 | 58517356.642 | 110830323.4993 | 37218147.6961 | 313525904.2806 |  | 52587491.6787 | 52589216.802 | 54386938.3659 | 82532958.3522 | 201479282.5052 | 443575887.704 |  | 129045442.0998 | 231755204.6369 | 195671469.9376 | 131180045.9231 | 179003955.2764 | 866656117.8738
RCP3 Network investment (ex R&R) | [72 empty] | 40331203.1307 | 44736862.6496 | 18054209.1311 | 13152099.2993 | 12918534.7992 | 129192909.0099 | 27685075.8917 | 80734170.1287 | 43719049.9671 | 67809248.6288 | 55754905.3679 | 275702449.9842 |  | 15367491.9352 | 15369216.3129 | 17166938.5619 | 45312958.0187 | 164259282.9855 | 257475887.8142 |  | 81091654.1173 | 171015884.0689 | 140691756.3473 | 89203878.5747 | 137003955.4875
Revenue implications, Year 1 | [78 empty] | 2019252.7465 | 5888468.4083 | 3188714.8176 | 4945769.7739 | 4066568.0758 | 20108773.822 | 0 | 1120851.1914 | 1120976.9615 | 1252096.5439 | 3304968.9042 | 11980498.432 | 18779392.0329 | 0 | 5914542.042 | 12473301.3178 | 10261565.3476 | 6506219.3622 | 9992590.0324
HVAC revenue including not yet approved listed and major projects ($m) |  | 779.8178 | 757.6478 | 723.5901 | 718.5098 | 717.5807 | 719.3353 | 720.3223 | 738.3702 | 745.4933 | 752.6365 | 759.7871 | 773.3032 | [59 empty] | 791.6881 | 805.3524 | 844.6325 | 779.8178 | 757.6478 |  | 723.5901 | 718.5098 | 717.5807 | 719.3353 | 720.3223 |  |  | 738.3702 | 745.4933 | 752.6365 | 759.7871 | 773.3032
Revenue excluding investment ex R&R | [72 empty] | 791688136.1877 | 805352383.7863 | 844632493.5884 | 779817848.6026 | 757647753.5434 |  | 723590144.7131 | 718509778.6395 | 717580680.8422 | 719335287.7963 | 720322330.3659 |  |  | 738370200.5298 | 745493330.244 | 752636500.1629 | 759787099.2349 | 773303236.9827
Total energy delivered (GWh, from our Information Disclosures schedule G2) plus forecast demand growth | [72 empty] | 37919.6604 | 37588.379 | 37856.1839 | 38561.5474 | 39021.4594 |  | 39499.5321 | 39960.988 | 40488.1672 | 40960.8569 | 41429.7878 |  |  | 41879.3309 | 42325.1375 | 42779.5571 | 43231.774 | 43680.2753
Revenue per MWh | [72 empty] | 20.878 | 21.4256 | 22.3116 | 20.2227 | 19.4162 |  | 18.319 | 17.9803 | 17.7232 | 17.5615 | 17.3866 |  |  | 17.6309 | 17.6135 | 17.5934 | 17.5747 | 17.7037
Incremental investment-related $/MWh | [72 empty] | 1.0636 | 1.1902 | 0.47692 | 0.34107 | 0.33106 |  | 0.7009 | 2.0203 | 1.0798 | 1.6555 | 1.3458 |  | #DIV/0! | 0.36695 | 0.36312 | 0.40129 | 1.0481 | 3.7605
RCP3 Major, Listed and other Reconductoring Capital Projects | [72 empty] | 37236056.9532 | 30478905.906 | 43021033.9789 | 32220835.7885 | 24501829.1751 | 167458661.8018 | 29831261.0048 | 77128815.4384 | 58517356.642 | 110830323.4993 | 37218147.6961 | 313525904.2806 |  | 52587491.6787 | 52589216.802 | 54386938.3659 | 82532958.3522 | 201479282.5052 | 443575887.704 |  | 129045442.0998 | 231755204.6369 | 195671469.9376 | 131180045.9231 | 179003955.2764 | 866656117.8738
Base capex Renewal | [72 empty] | 142661660.0621 | 154224687.2673 | 174799320.3086 | 181630968.6479 | 172700510.6031 | 826017146.8889 | 211491133.9776 | 218537084.5979 | 181919862.2858 | 170400095.2412 | 164708908.0282 | 947057084.1306 |  | 191984642.1882 | 193429166.2187 | 201416910.9934 | 216691375.9961 | 210260973.5194 | 1013783068.9159 |  | 308644582.0019 | 307930643.9948 | 294255847.9972 | 300172479.0138 | 293828742.0014 | 1504832295.0091
Note on A1: John Stephenson: RCP3 Revenue model

## Generation capacity
| Back-bone node - generation - 'alternative' scenario | [16 empty] | Model results - "All major capex" scenario, proposal
Potentially export constrained? | YES | NO | NO | NO | NO | NO | NO | YES | NO | NO | YES | YES | [5 empty] | YES | NO | NO | NO | NO | NO | NO | YES | NO | NO | YES | YES
Row Labels | BEN | BPE | HAY | HLY | ISL | KIK | RDF | ROX | SFD | TRK | TWI | WKM | TOTAL, MW | MW, export constrained | MW, not export constrained | Share export constrained | Row Labels | BEN | BPE | HAY | HLY | ISL | KIK | RDF | ROX | SFD | TRK | TWI | WKM | TOTAL, MW | MW, export constrained | MW, not export constrained | Share export constrained | Change
2019 | 1652.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 728.25 | 183.1 | 693.5 | 1645 | 7394.73 | 4784.75 | 2609.98 | 0.64705 | 2019 | 1652.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 728.25 | 183.1 | 693.5 | 1645 | 7394.73 | 4784.75 | 2609.98 | 0.64705 | 0%
2020 | 1669.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7731.73 | 5026.75 | 2704.98 | 0.65015 | 2020 | 1669.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7731.73 | 5026.75 | 2704.98 | 0.65015 | 0%
2021 | 1669.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7731.73 | 5026.75 | 2704.98 | 0.65015 | 2021 | 1669.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7731.73 | 5026.75 | 2704.98 | 0.65015 | 0%
2022 | 1704.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7766.73 | 5061.75 | 2704.98 | 0.65172 | 2022 | 1704.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7766.73 | 5061.75 | 2704.98 | 0.65172 | 0%
2023 | 1704.05 | 416.01 | 28.52 | 882.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7766.73 | 5061.75 | 2704.98 | 0.65172 | 2023 | 1704.05 | 416.01 | 28.52 | 882.55 | 62.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7819.23 | 5061.75 | 2757.48 | 0.64735 | -0.4376%
2024 | 1704.05 | 416.01 | 28.52 | 407.55 | 62.8 | 30.4 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7291.73 | 5061.75 | 2229.98 | 0.69418 | 2024 | 1704.05 | 416.01 | 28.52 | 407.55 | 62.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7344.23 | 5061.75 | 2282.48 | 0.68921 | -0.4962%
2025 | 1704.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7414.23 | 5061.75 | 2352.48 | 0.68271 | 2025 | 1951.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7661.23 | 5308.75 | 2352.48 | 0.69294 | 1.023%
2026 | 1704.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7414.23 | 5061.75 | 2352.48 | 0.68271 | 2026 | 1951.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7661.23 | 5308.75 | 2352.48 | 0.69294 | 1.023%
2027 | 1704.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7414.23 | 5061.75 | 2352.48 | 0.68271 | 2027 | 1951.05 | 416.01 | 28.52 | 407.55 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7661.23 | 5308.75 | 2352.48 | 0.69294 | 1.023%
2028 | 1704.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7372.43 | 5061.75 | 2310.68 | 0.68658 | 2028 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7619.43 | 5308.75 | 2310.68 | 0.69674 | 1.016%
2029 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2029 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7619.43 | 5308.75 | 2310.68 | 0.69674 | 0.4091%
2030 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2030 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7619.43 | 5308.75 | 2310.68 | 0.69674 | 0.4091%
2031 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2031 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 278.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7619.43 | 5308.75 | 2310.68 | 0.69674 | 0.4091%
2032 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2032 | 1951.05 | 416.01 | 68.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7704.43 | 5308.75 | 2395.68 | 0.68905 | -0.3596%
2033 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2033 | 1951.05 | 416.01 | 148.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7784.43 | 5308.75 | 2475.68 | 0.68197 | -1.068%
2034 | 1951.05 | 416.01 | 28.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7664.43 | 5308.75 | 2355.68 | 0.69265 | 2034 | 1951.05 | 416.01 | 148.52 | 365.75 | 387.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8039.43 | 5308.75 | 2730.68 | 0.66034 | -3.231%
2035 | 1951.05 | 466.01 | 68.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7754.43 | 5308.75 | 2445.68 | 0.68461 | 2035 | 1951.05 | 416.01 | 148.52 | 365.75 | 387.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8039.43 | 5308.75 | 2730.68 | 0.66034 | -2.427%
2036 | 1951.05 | 516.01 | 108.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7844.43 | 5308.75 | 2535.68 | 0.67675 | 2036 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -4.245%
2037 | 1951.05 | 516.01 | 108.52 | 365.75 | 132.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7844.43 | 5308.75 | 2535.68 | 0.67675 | 2037 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -4.245%
2038 | 1951.05 | 516.01 | 108.52 | 365.75 | 185.3 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7896.93 | 5308.75 | 2588.18 | 0.67225 | 2038 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -3.795%
2039 | 1951.05 | 516.01 | 108.52 | 365.75 | 185.3 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 7896.93 | 5308.75 | 2588.18 | 0.67225 | 2039 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -3.795%
2040 | 1951.05 | 516.01 | 108.52 | 365.75 | 612.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8324.43 | 5308.75 | 3015.68 | 0.63773 | 2040 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -0.3429%
2041 | 1951.05 | 516.01 | 108.52 | 365.75 | 612.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8324.43 | 5308.75 | 3015.68 | 0.63773 | 2041 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | -0.3429%
2042 | 1951.05 | 516.01 | 108.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8429.43 | 5308.75 | 3120.68 | 0.62979 | 2042 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.4515%
2043 | 1951.05 | 516.01 | 108.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8429.43 | 5308.75 | 3120.68 | 0.62979 | 2043 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.4515%
2044 | 1951.05 | 516.01 | 108.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8429.43 | 5308.75 | 3120.68 | 0.62979 | 2044 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.4515%
2045 | 1951.05 | 516.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8469.43 | 5308.75 | 3160.68 | 0.62681 | 2045 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.7489%
2046 | 1951.05 | 516.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8469.43 | 5308.75 | 3160.68 | 0.62681 | 2046 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.7489%
2047 | 1951.05 | 516.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8469.43 | 5308.75 | 3160.68 | 0.62681 | 2047 | 1951.05 | 416.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8369.43 | 5308.75 | 3060.68 | 0.6343 | 0.7489%
2048 | 1951.05 | 552.61 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8506.03 | 5308.75 | 3197.28 | 0.62412 | 2048 | 1951.05 | 466.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 726.3 | 1870 | 8452.23 | 5341.55 | 3110.68 | 0.63197 | 0.7853%
2049 | 1951.05 | 552.61 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8506.03 | 5308.75 | 3197.28 | 0.62412 | 2049 | 1951.05 | 466.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 726.3 | 1870 | 8452.23 | 5341.55 | 3110.68 | 0.63197 | 0.7853%
2050 | 1951.05 | 552.61 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 693.5 | 1870 | 8506.03 | 5308.75 | 3197.28 | 0.62412 | 2050 | 1951.05 | 466.01 | 148.52 | 365.75 | 717.8 | 82.9 | 323.35 | 794.2 | 823.25 | 183.1 | 726.3 | 1870 | 8452.23 | 5341.55 | 3110.68 | 0.63197 | 0.7853%
| WKM: Change/Investment | 739.3 | 247 | 492.3 | [13 empty] | Change/Investment | 685.5 | 279.8 | 405.7