## README
README
This file sets out the process for identifying consented/financially committed distirbuted generation, for netting purposes in vSPD.
The sheet titled "Shortlist analysis" contains the results of the analysis.
Approach
The proposed de-minimis for adjusting demand due to new DG in vSPD is to abstain from making adjustments unless the consented/committed DG is at least 20% the size of a distributors or direct connect customer's load.
It is important to note that the DG in question can not have affected the requirement for the transmission investments for which charges are being applied - because the investment was commissioned well before the DG.
Project | Max. capacity (MW) | Typical GWh pa | POC to adjust | Distributor Region
Kawerau_TeAhiOMaui _KA22 | 20 | 157.68 | KAW0111 | Horizon Energy
Ngawha2_stage_1 | 28 | 220.6 | KOE1101 | Top Energy
Recommendation - run each Geothermal above at 90% of capacity.
The Authorty will consider proposals as to whether new generation should be permitted for netting against load in the initial benefit-based charge.
Note on B11: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.

## Shortlist analysis
Project | Max. capacity (MW) | Type | Consent Status | Commissioning Status | Typical GWh pa | Capital cost $m | First pass assessment (refer to Note 1) | Reason for expecting generating station to be embedded | In or out | Reason | POC name | POC to adjust | Region | Typical GWh pa | Distributor load (GWh) | % TOTAL (FOR THRESHOLD)
Belfast_Orion | 11.5 | DslRecip | Fully Consented | Generation at the Belfast site has potential to defer investment in new zone substations. | 10.074 | 25.0166 | embedded | Per Orion's asset management plan. Belfast station called BFT0111 is not there | In | From AMP, investment appears to be going ahead. | Papanui | PAP0111 | Orion | 10.074 | 3395.4701 | 0.2967%
Fraser River | 7 | HydRR | Fully Consented | Expected to generate by March 2019 | 31 |  | embedded | 7 MW will fit within local distribution network somewhere nearby. | In | In construction phase if generating by mid 2019. | Clyde | CYD0331 | Aurora | 31 | 1289.2763 | 2.404%
Hawea_Control_Gate_Retrofit | 17 | HydPK | Fully Consented |  | 74.46 | 50.1379 | embedded | Transmission too far away. With 33 kV extension, close enough to Wanaka to fit within local Aurora subtransmission network | ? | Not certain whether committed | Cromwell | CML0331 | Aurora | 74.46 | 1289.2763 | 5.775%
Kawerau_TeAhiOMaui _KA22 | 20 | Geo | Fully Consented | Commissioned in September 2018 | 157.68 | 137 | embedded | Connected within Horizon Energy’s 11 kV system (refer to pg 174 (final paragraph) of Transpower's 2017 Transmission Planning Report) | In | It has been commissioned but wont appear in datasets | Kawerau (not Norske Skog) | KAW0111 | Horizon Energy | 157.68 | 477.3849 | 33.03%
Matiri | 5 | HydSC | Fully Consented | Expected to generate by October 2019 | 31 |  | embedded | 5 MW will fit within local distribution network somewhere nearby. | In | Committed. | Murchison | MCH0111 | Network Tasman | 31 | 803.0582 | 3.86%
Ngawha2_stage_1 | 28 | Geo | Fully Consented | Expected to generate by 2021 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | In | Committed. | Kaikohe | KOE1101 | Top Energy | 220.6 | 306.564 | 71.96%
Ngawha2_stage_2 | 28 | Geo | Fully Consented | Cannot generate before 2026 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | ?? | Too far out to be considered | Kaikohe | KOE1101 | Top Energy | 220.6 | 306.564 | 71.96%
Raikaia | 16 | HydRR | Fully Consented |  | 70.08 | 81.708 | embedded | Too small for grid - not sure where the site is but capacity fits with a subtransmission connection | ?? |  | Ashburton | ASB0661 | Electricity Ashburton | 70.08 | 640.7357 | 10.94%
Taumatatotara | 9 | Wind | Fully Consented | Construction start date scheduled for 2016 but project start dependent on financing | 27 |  | embedded | Same as Taharoa? | ?? |  | Hangitiki | HTI0331 | The Lines Company | 27 | 309.9874 | 8.71%
Note on P1: blair: From Concept file
Note on E2: Phillip Beardmore: Orion's 2018-28 AMP
Note on E3: Phillip Beardmore: Pioneer Generation website
Note on A5: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.
Note on E6: Phillip Beardmore: Pioneer Generation website
Note on E7: Phillip Beardmore: Ngawha generation expansion website
Note on P7: blair: This is net of existing DG
Note on E8: Phillip Beardmore: Ngawha generation expansion website
Note on A10: Phillip Beardmore: 10 kilometres south of Taharoa in the Waitomo District.
Note on E10: Phillip Beardmore: http://www.ventusenergy.co.nz/about-us.html
Note on F10: blair: Calculated as 3 x MW capacity - as per typical measure of other wind

## Draft decision not to shortlist
Project | First pass assessment (note 4) | Draft decision
Belfast_Orion | Probably embedded | Shortlist
Kawerau_TeAhiOMaui _KA22 | Probably embedded | Shortlist
Fraser River | embedded | Shortlist
Hawea_Control_Gate_Retrofit | embedded | Shortlist
Matiri | embedded | Shortlist
Ngawha2_stage_1 | embedded | Shortlist
Ngawha2_stage_2 | embedded | Shortlist
Raikaia | embedded | Shortlist
Taumatatotara | embedded | Shortlist
Arnold | Grid connected | Excluded as grid connected
CastleHill_stage1 | Grid connected | Excluded as grid connected
CastleHill_stage2 | Grid connected | Excluded as grid connected
CastleHill_stage3 | Grid connected | Excluded as grid connected
Hawkes_Bay_Wind_Maungaharuru | Grid connected | Excluded as grid connected
Kaiwera_Downs | Grid connected | Excluded as grid connected
Lake_Pukaki | Grid connected | Excluded as grid connected
Mahinerangi_stage_2 | Grid connected | Excluded as grid connected
Mt_Cass | Grid connected | Excluded as grid connected
Project_CentralWind | Grid connected | Excluded as grid connected
Puketoi | Grid connected | Excluded as grid connected
Stockton_Mine | Grid connected | Excluded as grid connected
Stockton_Plateau | Grid connected | Excluded as grid connected
Tauhara_stage_2 | Grid connected | Excluded as grid connected
Titiokura | Grid connected | Excluded as grid connected
Turitea | Grid connected | Excluded as grid connected
Waikato_hydro_upgrade | Grid connected | Excluded as grid connected
Wairau | Grid connected | Excluded as grid connected
Waitahora | Grid connected | Excluded as grid connected
Waverley | Grid connected | Excluded as grid connected
Kaimai | Grid connected | Excluded as grid connected
Rotoma_LakeRotoma | Grid connected | Excluded as grid connected
North_Bank_Tunnel | Grid connected | Excluded as grid connected
Tihiroa_OCGT | Grid connected | Excluded as grid connected
Tihiroa_OCGT2 | Grid connected | Excluded as grid connected
Tihiroa_OCGT3 | Grid connected | Excluded as grid connected
Tikitere_LakeRotoiti | Grid connected | Excluded as grid connected
ToddPeaker_npl (Junction road) | Grid connected | Excluded as grid connected
Bromley_Orion | Probably embedded | Justification for installing generation at the Bromley site will require either an energy-firming contract with an electricity market retailer or suitable market arrangements to reward Orion for relieving transmission constraints between Twizel and Christchurch. Depending on the nature and duration of any contract, this generation may also provide alternative investment options for Orion's distribution network.
ProposedDiesel1 | Probably embedded | Non specific. Only 9MW.
Long_Gully | Probably embedded | Consent has now lapsed
Hurunui | either | Meridian Energy currently has no plans to construct this project due to low demand growth
Awhitu | embedded | Development rights with a landowner but Tilt Renewables has decided to have no further involvement with the Awhitu site
Kaipara_harbour_stage_1 | embedded | Project on hold
Kaipara_harbour_stage_2 | embedded | Project on hold
Kaipara_harbour_stage_3 | embedded | Project on hold
Kaipara_harbour_stage_4 | embedded | Project on hold
Kaipara_harbour_stage_5 | embedded | Project on hold
Taharoa | embedded | Consent has now lapsed
Hurunui_River_Balmoral | embedded | Meridian Energy currently has no plans to construct this project due to low demand growth
Note on B5: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.
Note on B12: Phillip Beardmore: 10 kilometres south of Taharoa in the Waitomo District.
Note on B13: Phillip Beardmore: Near Dobson township, approx 10 km east of Greymouth.
Note on B14: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B15: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B16: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B17: Phillip Beardmore: Maungaharuru Range near Te Pohue, west of Napier.
Note on B18: Phillip Beardmore: 15 kilometres southeast of Gore in Southland.
Note on B20: Phillip Beardmore: 7km north of Lake Mahinerangi and 50km west of Dunedin.
Note on B21: Phillip Beardmore: Approx 6 kms east of Waipara in North Canterbury.
Note on B22: Phillip Beardmore: Located between Waiouru and Taihape.
Note on B23: Phillip Beardmore: 40km south of Dannevirke.
Note on B27: Phillip Beardmore: Approx 35 kms northwest of Napier Airport.
Note on B28: Phillip Beardmore: Approx 10 kms south-east of Palmerston North, primarily along a 14 km ridge in the northern Tararua Ranges.
Note on B31: Phillip Beardmore: In the Puketoi Range, near Dannevirke.
Note on B32: Phillip Beardmore: Between Patea and Waverley in South Taranaki. Includes 13 km 110 kV transmission line from the site to Transpower’s Waverley substation.
Note on B33: Phillip Beardmore: On farmland at the northern end of the Kaimai Ranges.
Note on B40: Phillip Beardmore: Near intersection of SH3/Junction Road and Mangorei Road, 7 km south of New Plymouth.
Note on B43: Phillip Beardmore: On the outskirts of Wellington.
Note on B44: Phillip Beardmore: Between Omihi and Greta Valley in North Canterbury.
Note on B45: Phillip Beardmore: Located on the Awhitu Peninsula near Waiuku on the west coast south of Auckland.
Note on B51: Phillip Beardmore: Near Kawhia.
Note on B52: Phillip Beardmore: North Canterbury.

## Kawerau adjustment
Kawerau adjustment (Horizon)
December run (latest) | 22.5 | 143100 | 71550
vSPD run | Case | Year | node.Gen | Node | generationMWh | loadMWh
December vSPD Run | Wairakei_Var_2014_2015 | 2014_2015 | KAW0111 | KAW0111 | 71095.8875 | 0
December vSPD Run | Wairakei_Var_2015_2016 | 2015_2016 | KAW0111 | KAW0111 | 68882.3315 | 2.5115
December vSPD Run | Wairakei_Var_2016_2017 | 2016_2017 | KAW0111 | KAW0111 | 45620.9765 | 5.2085
December vSPD Run | Wairakei_Var_2017_2018 | 2017_2018 | KAW0111 | KAW0111 | 40992.391 | 13.9475
October vSPD Run | Wairakei Ring_VAR_2014_2015 | 2014_2015 | KAW0111 | KAW0111 | 0 | 86584.1125
October vSPD Run | Wairakei Ring_VAR_2015_2016 | 2015_2016 | KAW0111 | KAW0111 | 0 | 89232.18
October vSPD Run | Wairakei Ring_VAR_2016_2017 | 2016_2017 | KAW0111 | KAW0111 | 0 | 112054.3235
October vSPD Run | Wairakei Ring_VAR_2017_2018 | 2017_2018 | KAW0111 | KAW0111 | 0 | 116695.0445
Adjustment: 20MW * 0.9 (90% availability) = 18 MW
Adjustment | 157680

## MWh_yr est - per region
GWh/yr
EDBs | 0
Alpine Energy | 831.0267
Aurora Energy | 1289.2763
Buller Electricity | 59.4492
Centralines | 118.8112
Counties Power | 532.1541
Eastland Network | 299.7546
Electra | 454.3836
Electricity Ashburton | 640.7357
Electricity Invercargill | 270.7585
Horizon | 477.3849
Lakeland Network | 10.9057
Mainpower | 645.1231
Marlborough Lines | 395.7136
Network Tasman | 803.0582
Network Waitaki | 308.567
Northpower | 1046.6383
Orion | 3395.4701
OtagoNet JV | 413.0178
Powerco | 5093.9698
Scanpower | 87.5475
The Lines Company | 309.9874
The Power Company | 764.8564
Top Energy | 306.564
Unison | 1672.6153
Vector | 8773.3937
Waipa Power | 394.0189
WEL | 1403.3254
Wellington Electricity | 2564.0664
Westpower | 271.0756
Generators
Contact | 10651.012
Genesis | 7423.6117
Meridian | 13468.6726
Mokai JV | 915.048
MRP | 4421.4037
NAP JV | 1078.7414
Ngatamariki | 655.4544
Pioneer | 47.4793
Todd | 971.4417
Trustpower | 2034.6312
Major industrials
Kiwirail | 39.1427
Methanex | 56.4086
Norske Skog | 691.8116
NZ Steel | 1047.2422
NZAS | 4985.1866
PanPac | 553.3915
Rayonier | 56.0629
Winstones | 247.3723

## Consented embedded stations
Project | Max. capacity (MW) | Type | Consent Status | Commissioning Status | Typical GWh pa | Capital cost $m | First pass assessment (refer to Note 1) | Reason for expecting generating station to be embedded | In or out | Reason |  | POC to adjust | Region
Awhitu | 18 | Wind | Fully Consented | Development rights with a landowner but Tilt Renewables has decided to have no further involvement with the Awhitu site | 62.3782 | 54.2581 | embedded | No local transmission grid - could fit within local distribution at 33 kV | Out | Investors not committed
Belfast_Orion | 11.5 | DslRecip | Fully Consented | Generation at the Belfast site has potential to defer investment in new zone substations. | 10.074 | 25.0166 | embedded | Per Orion's asset management plan | In | From AMP, investment appears to be going ahead. |  |  | Orion
Bromley_Orion | 11.5 | DslRecip | Fully Consented | Justification for installing generation at the Bromley site will require either an energy-firming contract with an electricity market retailer or suitable market arrangements to reward Orion for relieving transmission constraints between Twizel and Christchurch. Depending on the nature and duration of any contract, this generation may also provide alternative investment options for Orion's distribution network. | 10.074 | 25.0166 | embedded | Per Orion's asset management plan | Out | Market arrangements not finalised as per cell e4 so not committed. | Bromley | BRY0661 | Orion
Fraser River | 7 | HydRR | Fully Consented | Expected to generate by March 2019 | 31 |  | embedded | 7 MW will fit within local distribution network somewhere nearby. | In | In construction phase if generating by mid 2019.
Hawea_Control_Gate_Retrofit | 17 | HydPK | Fully Consented |  | 74.46 | 50.1379 | embedded | Transmission too far away. With 33 kV extension, close enough to Wanaka to fit within local Aurora subtransmission network | ? | Not certain whether committed | Cromwell | CML0331 | Aurora
Hurunui | 71 | Wind | Fully Consented | Meridian Energy currently has no plans to construct this project due to low demand growth | 223.9056 | 196.7063 | either grid or embedded | Both transmission 220 kV and distribution 66 kV circuits in the area. Could fit into 66 kV, which is owned by Mainpower. Would need to look closer to see which is more logical. | Out | Out - reason in cell E7
Kaipara_harbour_stage_1 | 3 | Tide | Fully Consented | Project on hold | 2.628 | 33.9281 | embedded | 3 MW will fit within local distribution network somewhere nearby. | Out | Not commited and unlikely to be due to high LRMC cost
Kaipara_harbour_stage_2 | 17 | Tide | Fully Consented | Project on hold | 14.892 | 87.2594 | embedded | Still likely embedded. | Out | Not commited and unlikely to be due to high LRMC cost
Kaipara_harbour_stage_3 | 30 | Tide | Fully Consented | Project on hold | 26.28 | 136.7812 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options. | Out | Not commited and unlikely to be due to high LRMC cost
Kaipara_harbour_stage_4 | 80 | Tide | Fully Consented | Project on hold | 70.08 | 327.25 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options. | Out | Not commited and unlikely to be due to high LRMC cost
Kaipara_harbour_stage_5 | 70 | Tide | Fully Consented | Project on hold | 61.32 | 289.1562 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options. | Out | Not commited and unlikely to be due to high LRMC cost
Kawerau_TeAhiOMaui _KA22 | 20 | Geo | Fully Consented | Commissioned in September 2018 | 157.68 | 137 | embedded | Connected within Horizon Energy’s 11 kV system (refer to pg 174 (final paragraph) of Transpower's 2017 Transmission Planning Report) | In | It has been commissioned but wont appear in datasets
Long_Gully | 12.5 | Wind | Fully Consented | Consent has now lapsed | 43.3182 | 44.3094 | embedded | According to the NZ Wind Energy Association, Long Gully would supply its electricity directly into the local distribution network (refer to http://www.windenergy.org.nz/long-gully). | Out | Not committed
Matiri | 5 | HydSC | Fully Consented | Expected to generate by October 2019 | 31 |  | embedded | 5 MW will fit within local distribution network somewhere nearby. | In | Committed.
Ngawha2_stage_1 | 28 | Geo | Fully Consented | Expected to generate by 2021 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | In | Committed.
Ngawha2_stage_2 | 28 | Geo | Fully Consented | Cannot generate before 2026 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | ?? | Uncertain whetehr this is committed
Raikaia | 16 | HydRR | Fully Consented |  | 70.08 | 81.708 | embedded | Too small for grid - not sure where the site is but capacity fits with a subtransmission connection | ??
Taharoa | 54 | Wind | Fully Consented | Consent has now lapsed | 208.8945 | 162.6744 | embedded | No nearby grid. Would need to connect in behind Hangatiki - I think there's a The Lines Company 33 kV circuit that goes out to Taharoa, to the iron sands boat loading? Might need an upgrade. | Out | Consent lapsed
Taumatatotara | 9 | Wind | Fully Consented | Construction start date scheduled for 2016 but project start dependent on financing |  |  | embedded | Same as Taharoa? | ??
Note 1: | First assessment identifies whether grid or distribution is more logical. Based on broad understanding of proposed site and a large scale transmission grid circuit map.
Belfast_Orion | 11.5 | DslRecip | Fully Consented | Orion | Generation at the Belfast site has potential to defer investment in new zone substations. | 10.074 | 25.0166 | embedded | Per Orion's asset management plan | In | From AMP, investment appears to be going ahead. |  |  | Orion
Fraser River | 7 | HydRR | Fully Consented |  | Expected to generate by March 2019 | 31 |  | embedded | 7 MW will fit within local distribution network somewhere nearby. | In | In construction phase if generating by mid 2019.
Hawea_Control_Gate_Retrofit | 17 | HydPK | Fully Consented |  |  | 74.46 | 50.1379 | embedded | Transmission too far away. With 33 kV extension, close enough to Wanaka to fit within local Aurora subtransmission network | ? | Not certain whether committed | Cromwell | CML0331 | Aurora
Kawerau_TeAhiOMaui _KA22 | 20 | Geo | Fully Consented |  | Commissioned in September 2018 | 157.68 | 137 | embedded | Connected within Horizon Energy’s 11 kV system (refer to pg 174 (final paragraph) of Transpower's 2017 Transmission Planning Report) | In | It has been commissioned but wont appear in datasets
Matiri | 5 | HydSC | Fully Consented |  | Expected to generate by October 2019 | 31 |  | embedded | 5 MW will fit within local distribution network somewhere nearby. | In | Committed.
Ngawha2_stage_1 | 28 | Geo | Fully Consented | Top Energy | Expected to generate by 2021 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | In | Committed.
Ngawha2_stage_2 | 28 | Geo | Fully Consented | Top Energy | Cannot generate before 2026 | 220.6 | 176 | embedded | Just like the rest of Ngawha. | ?? | Uncertain whetehr this is committed
Raikaia | 16 | HydRR | Fully Consented |  |  | 70.08 | 81.708 | embedded | Too small for grid - not sure where the site is but capacity fits with a subtransmission connection | ??
Taumatatotara | 9 | Wind | Fully Consented |  | Construction start date scheduled for 2016 but project start dependent on financing |  | embedded | Same as Taharoa? | ??
Note on A2: Phillip Beardmore: Located on the Awhitu Peninsula near Waiuku on the west coast south of Auckland.
Note on E2: Phillip Beardmore: http://www.windenergy.org.nz/awhitu
Note on E3: Phillip Beardmore: Orion's 2018-28 AMP
Note on E4: Phillip Beardmore: Orion's 2018-28 AMP
Note on E5: Phillip Beardmore: Pioneer Generation website
Note on A7: Phillip Beardmore: Between Omihi and Greta Valley in North Canterbury.
Note on E7: Phillip Beardmore: https://www.meridianenergy.co.nz/about-us/our-power-stations/future-projects?redirectfrom=%2Fabout-us%2Four-power-stations%2Ffuture-projects%2Fconsented-sites%2Fhurunui-wind-project
Note on E8: Phillip Beardmore: Refer to NZ Herald article "Plug pulled on tidal turbine projects", dated 6 Nov 2013.
Note on E9: Phillip Beardmore: Refer to NZ Herald article "Plug pulled on tidal turbine projects", dated 6 Nov 2013.
Note on E10: Phillip Beardmore: Refer to NZ Herald article "Plug pulled on tidal turbine projects", dated 6 Nov 2013.
Note on E11: Phillip Beardmore: Refer to NZ Herald article "Plug pulled on tidal turbine projects", dated 6 Nov 2013.
Note on E12: Phillip Beardmore: Refer to NZ Herald article "Plug pulled on tidal turbine projects", dated 6 Nov 2013.
Note on A13: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.
Note on A14: Phillip Beardmore: On the outskirts of Wellington, between Zealandia and the south coast.
Note on E14: Phillip Beardmore: http://www.windenergy.org.nz/long-gully
Note on E15: Phillip Beardmore: Pioneer Generation website
Note on E16: Phillip Beardmore: Ngawha generation expansion website
Note on E17: Phillip Beardmore: Ngawha generation expansion website
Note on A19: Phillip Beardmore: Near Kawhia.
Note on E19: Phillip Beardmore: http://www.windenergy.org.nz/taharoa
Note on A20: Phillip Beardmore: 10 kilometres south of Taharoa in the Waitomo District.
Note on E20: Phillip Beardmore: http://www.ventusenergy.co.nz/about-us.html
Note on F25: Phillip Beardmore: Orion's 2018-28 AMP
Note on F26: Phillip Beardmore: Pioneer Generation website
Note on A28: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.
Note on F29: Phillip Beardmore: Pioneer Generation website
Note on F30: Phillip Beardmore: Ngawha generation expansion website
Note on F31: Phillip Beardmore: Ngawha generation expansion website
Note on A33: Phillip Beardmore: 10 kilometres south of Taharoa in the Waitomo District.
Note on F33: Phillip Beardmore: http://www.ventusenergy.co.nz/about-us.html

## Future GG embedding candidates
| Project | Max. capacity (MW) | Type | Status | Typical GWh pa | Capital cost $m | First pass assessment (note 4) | Reason
| Arnold | 46 | HydSC | Fully Consented | 220 | 218 | grid connected | Connect into one of the 66 kV and 110 kV transmission circuits that interconnect at Dobson. Insufficient load in Greymouth to embed.
| Awhitu | 18 | Wind | Fully Consented | 62.3782 | 54.2581 | embedded | No local transmission grid - could fit within local distribution at 33 kV
| CastleHill_stage1 | 200 | Wind | Fully Consented | 693.0912 | 505.375 | grid connected | No transmission capacity in the region to connect 200 MW generation. Way too big to embed behind local loads. Would require a massive grid investment, at least 220 kV across the Tararuas
| CastleHill_stage2 | 200 | Wind | Fully Consented | 693.0912 | 505.475 | grid connected | No transmission capacity in the region to connect 200 MW generation. Way too big to embed behind local loads. Would require a massive grid investment, at least 220 kV across the Tararuas
| CastleHill_stage3 | 200 | Wind | Fully Consented | 693.0912 | 505.575 | grid connected | No transmission capacity in the region to connect 200 MW generation. Way too big to embed behind local loads. Would require a massive grid investment, at least 220 kV across the Tararuas
| Fraser River | 7 | HydRR | Fully Consented | 31 |  | embedded | 7 MW will fit within local distribution network somewhere nearby.
| Hawea_Control_Gate_Retrofit | 17 | HydPK | Fully Consented | 74.46 | 50.1379 | embedded | Transmission too far away. With 33 kV extension, close enough to Wanaka to fit within local Aurora subtransmission network
| Hawkes_Bay_Wind_Maungaharuru | 141 | Wind | Fully Consented | 432.306 | 302.7731 | grid connected | Too big for Unison's network. 220 kV Wairakei - Redclyffe circuits nearby, so obvious connection is into one of those.
| Hurunui | 71 | Wind | Fully Consented | 223.9056 | 196.7063 | either | Both transmission 220 kV and distribution 66 kV circuits in the area. Could fit into 66 kV, which is owned by Mainpower. Would need to look closer to see which is more logical.
| Kaipara_harbour_stage_1 | 3 | Tide | Fully Consented | 2.628 | 33.9281 | embedded | 3 MW will fit within local distribution network somewhere nearby.
| Kaipara_harbour_stage_2 | 17 | Tide | Fully Consented | 14.892 | 87.2594 | embedded | Still likely embedded.
| Kaipara_harbour_stage_3 | 30 | Tide | Fully Consented | 26.28 | 136.7812 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options.
| Kaipara_harbour_stage_4 | 80 | Tide | Fully Consented | 70.08 | 327.25 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options.
| Kaipara_harbour_stage_5 | 70 | Tide | Fully Consented | 61.32 | 289.1562 | embedded | It's a long way to the nearest transmission circuit from the Kaipara Heads, my guess is that the local network will get upgraded to connect this level of generation ahead of grid options.
| Kaiwera_Downs | 240 | Wind | Fully Consented | 754.3411 | 614.25 | grid connected | Too big for distribution - 220 kV in the vicinity.
| Lake_Pukaki | 35 | HydPK | Fully Consented | 153.3 | 109.5366 | grid connected | This is the Pukaki Control Gate station. Reported option is to connect into 220 kV at $3.9M estimated cost (from planning docs).
| Mahinerangi_stage_2 | 164 | Wind | Fully Consented | 515.4664 | 379.7518 | grid connected | Probably grid connect but can't tell - first option is to look at connecting into existing Waipori - Halfway Bush circuit - would need an upgrade of subtransmission as this project is 164 MW. Second option is to look at a 220 kV connection
| Matiri | 5 | HydSC | Fully Consented | 31 |  | embedded | 5 MW will fit within local distribution network somewhere nearby.
| Mt_Cass | 41 | Wind | Fully Consented | 128.8666 | 128.3991 | grid connected | Connect to Transpower 66 kV at Waipara GXP. Insufficient load at Waipara to embed.
| Ngawha2_stage_1 | 25 | Geo | Fully Consented | 197.1 | 182.6212 | embedded | Just like the rest of Ngawha.
| Ngawha2_stage_2 | 25 | Geo | Fully Consented | 197.1 | 182.6212 | embedded | Just like the rest of Ngawha.
| Project_CentralWind | 120 | Wind | Fully Consented | 346.896 | 284.125 | grid connected | Connect into one of the 3 Bunnythorpe north circuits
| Puketoi | 159 | Wind | Fully Consented | 551.0075 | 406.9606 | grid connected | Too big to embed. Connect into Wairarapa 110 kV - maybe Woodville, but some upgrading will be required.
| Raikaia | 16 | HydRR | Fully Consented | 70.08 | 81.708 | embedded | Too small for grid - not sure where the site is but capacity fits with a subtransmission connection
| Stockton_Mine | 35 | HydRR | Fully Consented | 153.3 | 131.2266 | grid connected | Up the coast from Waimangaroa GXP. Insufficient local load to embed.
| Stockton_Plateau | 25 | HydRR | Fully Consented | 109.5 | 102.8558 | grid connected | Up the coast from Waimangaroa GXP. Insufficient local load to embed.
| Taharoa | 54 | Wind | Fully Consented | 208.8945 | 162.6744 | embedded | No nearby grid. Would need to connect in behind Hangatiki - I think there's a The Lines Company 33 kV circuit that goes out to Taharoa, to the iron sands boat loading? Might need an upgrade.
| Tauhara_stage_2 | 250 | Geo | Fully Consented | 1971 | 1184.3561 | grid connected | Too big to embed.
| Taumatatotara | 44 | Wind | Fully Consented | 152.4801 | 134.3088 | embedded | Same as Taharoa?
| Titiokura | 48 | Wind | Fully Consented | 166.3419 | 144.555 | grid connected | Small but there's no local distribution to speak of. Grid 220 kV and 110 kV Tuai circuits run through there.
| Turitea | 183 | Wind | Fully Consented | 707.9201 | 468.4056 | grid connected | Too big to embed. Would need to connect east or west of the Tararuas, probably west into 220 kV BPE-WIL A.
| Waikato_hydro_upgrade | 20 | HydSC | Fully Consented | 87.6 | 98.6 | grid connected | I think this is +20 MW at Whakamaru - see Mercury's website. If so, this will remain grid connected.
| Wairau | 70 | HydRR | Fully Consented | 306.6 | 290.0777 | grid connected | Looked at this in detail as part of the existing stations research. Too big for local distribution, so obvious option is to connect into 110 kV at Argyle, as the existing 2 stations do.
| Waitahora | 156 | Wind | Fully Consented | 540.6111 | 399.2425 | grid connected | Same as Puketoi. Lots of upgrading required if both go ahead.
| Waverley | 130 | Wind | Fully Consented | 490 | 325 | grid connected | Too big to embed. Some of the 110 kV lines between Bunnythorpe and Stratford might need an upgrade.
| Hurunui_River_Balmoral | 15 | HydRR | Applied for Consent | 65.7 | 73.8394 | embedded | Probably embed into local distribution, though I can't tell where the site is.
| Kaimai | 100 | Wind | Applied for Consent | 400 |  | grid connected | Website says 110 kV lines run over the site, so that is the obvious grid connection option.
| Rotoma_LakeRotoma | 35 | Geo | Applied for Consent | 275.94 | 256.4803 | grid connected | Likely grid connect into local 110 kV circuit. Owhata is 30 km away, a bit beyond
| North_Bank_Tunnel | 260 | HydSC | Applied for Consent | 1138.8 | 1025.5125 | grid connected | Project on indefinite hold according to website. Would definitely grid connect if it went ahead.
| Tihiroa_OCGT | 120 | GasPkr | Applied for Consent | 210.24 | 141.88 | grid connected | Too big to embed. Grid connect to nearby HLY-TMN A line.
| Tihiroa_OCGT2 | 120 | GasPkr | Applied for Consent | 210.24 | 141.94 | grid connected | Too big to embed. Grid connect to nearby HLY-TMN A line.
| Tihiroa_OCGT3 | 120 | GasPkr | Applied for Consent | 210.24 | 141.976 | grid connected | Too big to embed. Grid connect to nearby HLY-TMN A line.
| Tikitere_LakeRotoiti | 45 | Geo | Proposed | 354.78 | 298.8591 | grid connected | Near Rotoma geo. Likely connect to local 110 kV circuit.
| ToddPeaker_npl (Junction road) | 100 | GasPkr | Proposed | 175.2 | 115 | grid connected | Too big to embed. Is connecting to the grid (CST-HUI A?).
Notes
1 | Taken from MBIE's interactive generation cost model
2 | The Kaimai and Waverley projects were then added to MBIE's list of generation projects
3 | The following projects then were removed from MBIE's list of generation projects, in the knowledge or expectation they are not grid-connected generation stations:
| Belfast_Orion | 11.5 | DslRecip | Fully Consented | 10.074 | 25.0166
| Bromley_Orion | 11.5 | DslRecip | Fully Consented | 10.074 | 25.0166
| Kawerau_TeAhiOMaui _KA22 | 20 | Geo | Fully Consented | 157.68 | 146.597 |  | Connected within Horizon Energy’s 11 kV system (refer to pg 174 (final paragraph) of Transpower's 2017 Transmission Planning Report)
| ProposedDiesel1 | 9.9 | DslRecip | Proposed | 8.6724 | 20.696
| Long_Gully | 12.5 | Wind | Fully Consented | 43.3182 | 44.3094 |  | According to the NZ Wind Energy Association, Long Gully would supply its electricity directly into the local distribution network (refer to http://www.windenergy.org.nz/long-gully).
4 | First assessment identifies whether grid or distribution is more logical. Based on broad understanding of proposed site and a large scale transmission grid circuit map.
Note on B2: Phillip Beardmore: Near Dobson township, approx 10 km east of Greymouth.
Note on B3: Phillip Beardmore: Located on the Awhitu Peninsula near Waiuku on the west coast south of Auckland.
Note on B4: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B5: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B6: Phillip Beardmore: Approximately 20 kms east of Eketahuna and Pahiatua, and 20 kms northeast of Masterton.
Note on B9: Phillip Beardmore: Maungaharuru Range near Te Pohue, west of Napier.
Note on B10: Phillip Beardmore: Between Omihi and Greta Valley in North Canterbury.
Note on B16: Phillip Beardmore: 15 kilometres southeast of Gore in Southland.
Note on B18: Phillip Beardmore: 7km north of Lake Mahinerangi and 50km west of Dunedin.
Note on B20: Phillip Beardmore: Approx 6 kms east of Waipara in North Canterbury.
Note on B23: Phillip Beardmore: Located between Waiouru and Taihape.
Note on B24: Phillip Beardmore: 40km south of Dannevirke.
Note on B28: Phillip Beardmore: Near Kawhia.
Note on B30: Phillip Beardmore: 10 kilometres south of Taharoa in the Waitomo District.
Note on B31: Phillip Beardmore: Approx 35 kms northwest of Napier Airport.
Note on B32: Phillip Beardmore: Approx 10 kms south-east of Palmerston North, primarily along a 14 km ridge in the northern Tararua Ranges.
Note on B35: Phillip Beardmore: In the Puketoi Range, near Dannevirke.
Note on B36: Phillip Beardmore: Between Patea and Waverley in South Taranaki. Includes 13 km 110 kV transmission line from the site to Transpower’s Waverley substation.
Note on B37: Phillip Beardmore: North Canterbury.
Note on B38: Phillip Beardmore: On farmland at the northern end of the Kaimai Ranges.
Note on E41: Phillip Beardmore: MBIE spreadsheet says "Applied for Consent", but Otorohanga District Council and Waikato Regional Council granted Nova Energy consents to construct and operate a 360 MW gas-fired power station in May 2017?
Note on E42: Phillip Beardmore: MBIE spreadsheet says "Applied for Consent", but Otorohanga District Council and Waikato Regional Council granted Nova Energy consents to construct and operate a 360 MW gas-fired power station in May 2017?
Note on E43: Phillip Beardmore: MBIE spreadsheet says "Applied for Consent", but Otorohanga District Council and Waikato Regional Council granted Nova Energy consents to construct and operate a 360 MW gas-fired power station in May 2017?
Note on B45: Phillip Beardmore: Near intersection of SH3/Junction Road and Mangorei Road, 7 km south of New Plymouth.
Note on B54: Phillip Beardmore: 2.3 kms north-east of Kawerau in the eastern Bay of Plenty.
Note on B56: Phillip Beardmore: On the outskirts of Wellington.

## G3. GXP Capacity and Demand
[10 empty] | Transpower |  |  | Disclosure Date | 2018-06-30
SCHEDULE G3: GRID EXIT POINT (GXP) CONNECTION CAPACITY AND DEMAND (ACTUAL AND FORECAST) | [12 empty] | Disclosure Year (year ended) | 2018-06-30
ref
184 | G3(ii): Current Connection Capacity vs Actual and Forecast Injection
185
186 |  | Grid Injection point (generator location if embedded) | Forecast Injection (MVA)
187 |  |  | CY | CY+1 | CY+2 | CY+3 | CY+4 | CY+5 | CY+6 | CY+7 | CY+8 | CY+9 | CY+10 | Comments on Capacity
188 |  | Bream Bay (Marsden Diesel) | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
189 |  | Kaikohe (Ngawha) | 25 | 25 | 25 | 25 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | Top Energy has publicly announced that it is expanding its Ngawha generation by an additional 28 MW of generation capacity by 2021.
190 |  | Maungatapere (Wairua) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
191 |  | Albany (Rosedale) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | Rosedale generation is limited to approximately 1 MW due to insufficient gas at the site. This amount is not expected to rise significantly within the next few years.
192 |  | Bombay (Hampton Downs Landfill) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
193 |  | Bombay (Greymouth power co., Contact Energy) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
194 |  | Glenbrook | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | This value includes an embedded generating unit with a nominal rating of 38 MW. However, its continuous output is approximately 25 MW.
195 |  | Mangere (Watercare Mangere) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
196 |  | Otahuhu (Greenmount Landfill) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Information from Envirowaste website. Lanfill is closed and presently produces 1 MW. This is expected to reduce over time.
197 |  | Penrose (Auckland Hospital) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
198 |  | Silverdale (Redvale) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | Waste Management website indicates that energy output is expected to double by 2025. However, no useful figures are given.
199 |  | Takanini (Whitford Landfill) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
200 |  | Arapuni | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197 | 197
201 |  | Atiamuri | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84
202 |  | Hangatiki (Mangapehi) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
203 |  | Hangatiki (Wairere Falls) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
204 |  | Hangatiki (Mokauiti) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
205 |  | Hangatiki (Speedies Road) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
206 |  | Huntly | 948 | 948 | 948 | 948 | 948 | 448 | 448 | 448 | 448 | 448 | 448 | Two 250 MW coal-fired units are assumed to remain in service at Huntly until the end of 2022, at which time they are decommissioned.
207 |  | Karapiro | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
208 |  | Kinleith | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
209 |  | Maraetai | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360
210 |  | Mokai | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112
211 |  | Ohakuri | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112
212 |  | Te Awamutu (Anchor Products) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
213 |  | Te Kowhai (Te Rapa) | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44
|  | Te Kowhai (Te Uku) | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
|  | Te Kowhai (Horotiu Landfill) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | Waikino (Tirohia Landfill) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | Waipapa | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
|  | Whakamaru | 100 | 100 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | Whakamaru is currently being upgraded and its capacity will increase by 20 MW once all of the upgrades are completed which is due in 2020.
218 |  | Aniwhenua | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
219 |  | Edgecumbe (Bay Milk) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
220 |  | Kawerau (BOPE) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
221 |  | Kawerau (Oji) | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27
222 |  | Kawerau (KAG) | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
223 |  | Kawerau (KA24) | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
224 |  | Kawerau (Ngati Tuwharetoa) | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | The electricity market designation for Ngati Tuwharetoa is Onepu.
225 |  | Kawerau (TPP) | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37
|  | Kawerau (Te Ahi O Maui) | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | New generation scheduled for connection in 2018
227 |  | Matahina | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72
228 |  | Mount Maunganui (Balance Agri) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
229 |  | Rotorua (Fletcher Forests) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
230 |  | Rotorua (Wheao, Flaxy Scheme) | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
231 |  | Tauranga (Kaimai) | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
232 |  | Aratiatia | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
233 |  | Bunnythorpe (Tararua Wind Stage 2) | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
234 |  | Linton (Tararua Wind Stage 1) | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
235 |  | Linton (Totara Road) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
236 |  | Mangahao | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
237 |  | Nga Awa Purua | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140
238 |  | Nga Awa Purua – Ngatamariki | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82
239 |  | Ohaaki | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | Although Ohaaki still has 116 MWe of plant installed on site, station output is limited by steam field capacity.
240 |  | Ongarue (Mokauiti, Kuratau and Wairere Falls) | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
241 |  | Poihipi | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
242 |  | Rangipo | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
243 |  | Tararua Wind Central – Tararua Stage 3 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93
244 |  | Tararua Wind Central (Te Rere Hau) | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49
245 |  | Te Mihi | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166
246 |  | Tokaanu | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240
247 |  | Wairakei | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | Forecast value reflects expected output
248 |  | Wairakei (Hinemaiaia) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
249 |  | Wairakei (Rotokawa) | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
250 |  | Wairakei (Te Huka) | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
251 |  | Woodville – Te Apiti | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
252 |  | Carrington St (Mangorei) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
253 |  | Hawera – Kiwi Dairy (Whareroa) | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
254 |  | Hawera – Patea | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
255 |  | Huirangi (Mangahewa) | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
256 |  | Huirangi (Motukawa) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
258 |  | Junction Road | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | Due to be commissioned in 2020
257 |  | Kapuni | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
258 |  | McKee | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
259 |  | Taranaki Combined Cycle | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385
260 |  | Stratford Peaker | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
261 |  | Stratford (Stratford Austral Pacific) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
262 |  | Kaitawa | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | Kaitawa, Piripaua and Tuai are collectively known as Waikaremoana scheme
263 |  | Piripaua | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | Kaitawa, Piripaua and Tuai are collectively known as Waikaremoana scheme
264 |  | Redclyffe (Ravensdown) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
265 |  | Redclyffe (Esk River) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
266 |  | Tuai | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | Kaitawa, Piripaua and Tuai are collectively known as Waikaremoana scheme
267 |  | Tuai (Gisborne) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
268 |  | Tuai (Matawai) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
269 |  | Tuai (Waihi) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
270 |  | Whirinaki | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155
271 |  | Whirinaki (Pan Pac) | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
272 |  | Central Park (Southern Landfill) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
273 |  | Central Park (Wellington Hospital) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | The Wellington Hospital generation is standby only.
274 |  | Greytown (Hau Nui) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
275 |  | Haywards (Silverstream) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
276 |  | Masterton | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
277 |  | West Wind | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143
278 |  | Wilton (Mill Creek) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
279 |  | Haywards 220 kV (HVDC North transfer) | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | The fourth cable may be installed in future as an additional stage in the HVDC development, increasing the HVDC link capacity to 1,400 MW.
280 |  | Argyle – Branch River Scheme | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
281 |  | Blenheim (Lulworth Wind) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
282 |  | Blenheim (Waihopai) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
283 |  | Motupipi (Onekaka) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
284 |  | Stoke (Cobb) | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34
285 |  | Dobson (Arnold) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
286 |  | Hokitika (Amethyst) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
287 |  | Hokitika(McKays Creek) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
288 |  | Hokitika (Wahapo-Okarito Forks) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
289 |  | Kumara (Hokitika Diesel) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
290 |  | Kumara (Kumara and Dillmans) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | Kumara and Dillmans share the same water and are offered into the market as a single 10 MW generator. Kumara does not have significant water storage but is expected to supply an average of 4 MW during summer peaks.
291 |  | Robertson Street (Kawatiri Hydro) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
292 |  | Ashburton (Highbank) | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
293 |  | Ashburton (Montalto) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
294 |  | Bromley (City Waste) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
295 |  | Bromley (QE2 diesel) | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QE2 diesel generation will be shifted to the Islington 66 kV GXP in 2019.
296 |  | Coleridge | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
297 |  | Islington (QE2 diesel) | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | QE2 diesel generation will be shifted to the Islington 66 kV GXP in 2019.
298 |  | Albury (Opuha) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8
299 |  | Aviemore | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220
300 |  | Benmore | 540 | 540 | 540 | 540 | 540 | 540 | 540 | 540 | 540 | 540 | 540
301 |  | Ohau A | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264
302 |  | Ohau B | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212
303 |  | Ohau C | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212
304 |  | Tekapo A | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 30
305 |  | Tekapo B | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
306 |  | Waitaki | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
307 |  | Clyde | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432
308 |  | Manapouri | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850
309 |  | Roxburgh | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
310 |  | Berwick/Halfway Bush (Waipori) | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84
311 |  | Berwick/Halfway Bush (Mahinerangi) | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
312 |  | Balclutha (Mt. Stuart) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
313 |  | Clyde (Fraser) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
314 |  | Clyde (Horseshoe Bend hydro) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
315 |  | Clyde (Horseshoe Bend wind) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
316 |  | Clyde (Talla Burn) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
317 |  | Clyde (Teviot) | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
318 |  | Clyde (Kowhai) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
319 |  | Cromwell (Roaring Meg) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
320 |  | Frankton (Wye Creek) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
321 |  | Halfway Bush (Deep Stream) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
322 |  | Invercargill (Flat Hill) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
323 |  | Naseby (Falls Dam) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | Naseby (Pateroa) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
324 |  | Naseby (Paerau) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
325 |  | North Makarewa (Monowai) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
326 |  | North Makarewa (White Hill) | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58
330 |  | GIPs Total | 10626 | 10626 | 10746 | 10746 | 10774 | 10274 | 10274 | 10274 | 10274 | 10274 | 10278
331 |  | *Insert additional rows and update calculation of totals as needed
332

## Fraser Matri
30 GWh |  | Matiri |  | Rakaia | http://www.windenergy.org.nz/taumatatotara | Ta Anga | Kawerau - this is not Norske Skog
Mr Mulvihill said the power scheme would be on Earnscleugh Station, between Alexandra and Clyde, and would be "largely unseen". Most of the 3.5km pipeline would be buried.
FRASER
Nelson Electricity boundaries - confirming that Matiri Project is Network Tasman
Fraser is definitely Aurora. It is not Lakeland Network because Lakeland is Queenstown some distance away. Concept consulting described it as part of FKN0331